## sheet1_1
Batch Report
Lab Name: | IU Health Pathology |  |  |  | Method: | Drugs_Bups Ph1 v4b_LC
Instrument: | LC-MS/MS-1 Shawn |  |  |  | Cali File: | Calibration.calx
User: | Altis |  |  |  | Instr. Method | Drugs_Bups_RAD
Batch: | Drugs_Bups_LC_2024-04-22 ACC
D: Limet of Detection |  | ISTD: area out of range
J: Between LOD & LOQ
Q: Limit of Quantation
?: Upper Limit of Report |  | I: Ion Ratio Failure | [5 empty] | POS: positive, conc above limit of report
C: Carryover |  | CBF: Confirmation Partial Pass |  |  | * QC out of range |  |  | est: estimated concentration
|  |  | Cmp | m | b | R^2
|  |  | Buprenorphine | 0.01346 | -0.003914 | 0.99823
|  |  | Buprenorphine-D |  | 412903 | 0
|  |  | Buprenorphine-Gluc | 0.02336 | -0.005649 | 0.99915
|  |  | Buprenorphine-Gluc-D |  | 179693 | 0
|  |  | Naloxone | 0.02901 | 0.01034 | 0.99976
|  |  | Naloxone-D |  | 774434 | 0
|  |  | Norbuprenorphine | 0.01149 | 0.004321 | 0.99924
|  |  | Norbuprenorphine-D |  | 369246 | 0
|  |  | Norbuprenorphine-Gluc | 0.02199 | 0.004886 | 0.99979
|  |  | Norbuprenorphine-Gluc-D |  | 101087 | 0
File Name | Date/Time | Channel | ID | Cmd Name | RT (min) | Area | Response Ratio | Theo. Amt | Conc. | Qual1 | Qual2 | All Flags | Comment
Blank1_1 | 2024-04-22 13:14 | 1 | 1 | Buprenorphine | N/F | N/F | N/F | N/A | N/F
Blank1_1 | 2024-04-22 13:14 | 1 | 1 | Buprenorphine-D | N/F | N/F | N/F | 1 | N/F
Blank1_1 | 2024-04-22 13:14 | 1 | 1 | Buprenorphine-Gluc | N/F | N/F | N/F | N/A | N/F
Blank1_1 | 2024-04-22 13:14 | 1 | 1 | Buprenorphine-Gluc-D | N/F | N/F | N/F | 1 | N/F
Blank1_1 | 2024-04-22 13:14 | 1 | 1 | Naloxone | N/F | N/F | N/F | N/A | N/F
Blank1_1 | 2024-04-22 13:14 | 1 | 1 | Naloxone-D | N/F | N/F | N/F | 1 | N/F
Blank1_1 | 2024-04-22 13:14 | 1 | 1 | Norbuprenorphine | N/F | N/F | N/F | N/A | N/F
Blank1_1 | 2024-04-22 13:14 | 1 | 1 | Norbuprenorphine-D | N/F | N/F | N/F | 1 | N/F
Blank1_1 | 2024-04-22 13:14 | 1 | 1 | Norbuprenorphine-Gluc | N/F | N/F | N/F | N/A | N/F
Blank1_1 | 2024-04-22 13:14 | 1 | 1 | Norbuprenorphine-Gluc-D | N/F | N/F | N/F | 1 | N/F
Blank1_3 | 2024-04-22 13:25 | 3 | 2 | Buprenorphine | N/F | N/F | N/F | N/A | N/F
Blank1_3 | 2024-04-22 13:25 | 3 | 2 | Buprenorphine-D | N/F | N/F | N/F | 1 | N/F
Blank1_3 | 2024-04-22 13:25 | 3 | 2 | Buprenorphine-Gluc | N/F | N/F | N/F | N/A | N/F
Blank1_3 | 2024-04-22 13:25 | 3 | 2 | Buprenorphine-Gluc-D | N/F | N/F | N/F | 1 | N/F
Blank1_3 | 2024-04-22 13:25 | 3 | 2 | Naloxone | N/F | N/F | N/F | N/A | N/F
Blank1_3 | 2024-04-22 13:25 | 3 | 2 | Naloxone-D | N/F | N/F | N/F | 1 | N/F
Blank1_3 | 2024-04-22 13:25 | 3 | 2 | Norbuprenorphine | N/F | N/F | N/F | N/A | N/F
Blank1_3 | 2024-04-22 13:25 | 3 | 2 | Norbuprenorphine-D | N/F | N/F | N/F | 1 | N/F
Blank1_3 | 2024-04-22 13:25 | 3 | 2 | Norbuprenorphine-Gluc | N/F | N/F | N/F | N/A | N/F
Blank1_3 | 2024-04-22 13:25 | 3 | 2 | Norbuprenorphine-Gluc-D | N/F | N/F | N/F | 1 | N/F
Suit1_1 | 2024-04-22 13:30 | 1 | 3 | Buprenorphine | N/F | N/F | N/F | N/A | N/F
Suit1_1 | 2024-04-22 13:30 | 1 | 3 | Buprenorphine-D | 4.86 | 663584 | N/A | 1 | N/A | 40.14
Suit1_1 | 2024-04-22 13:30 | 1 | 3 | Buprenorphine-Gluc | N/F | N/F | N/F | N/A | N/F
Suit1_1 | 2024-04-22 13:30 | 1 | 3 | Buprenorphine-Gluc-D | 3.56 | 129420 | N/A | 1 | N/A | 35.68
Suit1_1 | 2024-04-22 13:30 | 1 | 3 | Naloxone | N/F | N/F | N/F | N/A | N/F
Suit1_1 | 2024-04-22 13:30 | 1 | 3 | Naloxone-D | 0.74 | 1158467 | N/A | 1 | N/A | 91.09
Suit1_1 | 2024-04-22 13:30 | 1 | 3 | Norbuprenorphine | N/F | N/F | N/F | N/A | N/F
Suit1_1 | 2024-04-22 13:30 | 1 | 3 | Norbuprenorphine-D | 3.94 | 320437 | N/A | 1 | N/A | 81.81
Suit1_1 | 2024-04-22 13:30 | 1 | 3 | Norbuprenorphine-Gluc | N/F | N/F | N/F | N/A | N/F
Suit1_1 | 2024-04-22 13:30 | 1 | 3 | Norbuprenorphine-Gluc-D | 2.17 | 120842 | N/A | 1 | N/A | 57.81
Suit1_3 | 2024-04-22 13:37 | 3 | 4 | Buprenorphine | N/F | N/F | N/F | N/A | N/F
Suit1_3 | 2024-04-22 13:37 | 3 | 4 | Buprenorphine-D | 4.86 | 793760 | N/A | 1 | N/A | 39.7
Suit1_3 | 2024-04-22 13:37 | 3 | 4 | Buprenorphine-Gluc | N/F | N/F | N/F | N/A | N/F
Suit1_3 | 2024-04-22 13:37 | 3 | 4 | Buprenorphine-Gluc-D | 3.58 | 205661 | N/A | 1 | N/A | 46.33
Suit1_3 | 2024-04-22 13:37 | 3 | 4 | Naloxone | N/F | N/F | N/F | N/A | N/F
Suit1_3 | 2024-04-22 13:37 | 3 | 4 | Naloxone-D | 0.84 | 998327 | N/A | 1 | N/A | 89.61
Suit1_3 | 2024-04-22 13:37 | 3 | 4 | Norbuprenorphine | N/F | N/F | N/F | N/A | N/F
Suit1_3 | 2024-04-22 13:37 | 3 | 4 | Norbuprenorphine-D | 3.9 | 533226 | N/A | 1 | N/A | 79.64
Suit1_3 | 2024-04-22 13:37 | 3 | 4 | Norbuprenorphine-Gluc | N/F | N/F | N/F | N/A | N/F
Suit1_3 | 2024-04-22 13:37 | 3 | 4 | Norbuprenorphine-Gluc-D | 2.27 | 100884 | N/A | 1 | N/A | 56.53
Blank2_1 | 2024-04-22 13:42 | 1 | 5 | Buprenorphine | N/F | N/F | N/F | N/A | N/F
Blank2_1 | 2024-04-22 13:42 | 1 | 5 | Buprenorphine-D | N/F | N/F | N/F | 1 | N/F
Blank2_1 | 2024-04-22 13:42 | 1 | 5 | Buprenorphine-Gluc | N/F | N/F | N/F | N/A | N/F
Blank2_1 | 2024-04-22 13:42 | 1 | 5 | Buprenorphine-Gluc-D | N/F | N/F | N/F | 1 | N/F
Blank2_1 | 2024-04-22 13:42 | 1 | 5 | Naloxone | N/F | N/F | N/F | N/A | N/F
Blank2_1 | 2024-04-22 13:42 | 1 | 5 | Naloxone-D | N/F | N/F | N/F | 1 | N/F
Blank2_1 | 2024-04-22 13:42 | 1 | 5 | Norbuprenorphine | N/F | N/F | N/F | N/A | N/F
Blank2_1 | 2024-04-22 13:42 | 1 | 5 | Norbuprenorphine-D | N/F | N/F | N/F | 1 | N/F
Blank2_1 | 2024-04-22 13:42 | 1 | 5 | Norbuprenorphine-Gluc | N/F | N/F | N/F | N/A | N/F
Blank2_1 | 2024-04-22 13:42 | 1 | 5 | Norbuprenorphine-Gluc-D | N/F | N/F | N/F | 1 | N/F
Blank2_3 | 2024-04-22 13:49 | 3 | 6 | Buprenorphine | N/F | N/F | N/F | N/A | N/F
Blank2_3 | 2024-04-22 13:49 | 3 | 6 | Buprenorphine-D | N/F | N/F | N/F | 1 | N/F
Blank2_3 | 2024-04-22 13:49 | 3 | 6 | Buprenorphine-Gluc | N/F | N/F | N/F | N/A | N/F
Blank2_3 | 2024-04-22 13:49 | 3 | 6 | Buprenorphine-Gluc-D | N/F | N/F | N/F | 1 | N/F
Blank2_3 | 2024-04-22 13:49 | 3 | 6 | Naloxone | N/F | N/F | N/F | N/A | N/F
Blank2_3 | 2024-04-22 13:49 | 3 | 6 | Naloxone-D | N/F | N/F | N/F | 1 | N/F
Blank2_3 | 2024-04-22 13:49 | 3 | 6 | Norbuprenorphine | N/F | N/F | N/F | N/A | N/F
Blank2_3 | 2024-04-22 13:49 | 3 | 6 | Norbuprenorphine-D | N/F | N/F | N/F | 1 | N/F
Blank2_3 | 2024-04-22 13:49 | 3 | 6 | Norbuprenorphine-Gluc | N/F | N/F | N/F | N/A | N/F
Blank2_3 | 2024-04-22 13:49 | 3 | 6 | Norbuprenorphine-Gluc-D | N/F | N/F | N/F | 1 | N/F
Cal0_1 | 2024-04-22 13:56 | 1 | 7 | Buprenorphine | 4.8 | 4466 | 0.012 | 1 | 1.181 | 97.38 | 11.29
Cal0_1 | 2024-04-22 13:56 | 1 | 7 | Buprenorphine-D | 4.8 | 372593 | N/A | 1 | N/A | 40.61
Cal0_1 | 2024-04-22 13:56 | 1 | 7 | Buprenorphine-Gluc | N/F | N/F | N/F | 1 | N/F |  |  |  |  | 4.79
Cal0_1 | 2024-04-22 13:56 | 1 | 7 | Buprenorphine-Gluc-D | 3.49 | 190267 | N/A | 1 | N/A | 41.28 |  |  |  | 4.88
Cal0_1 | 2024-04-22 13:56 | 1 | 7 | Naloxone | 0.77 | 126783 | 0.144 | 5 | 4.602 | 87.82 | 79.88 |  |  | 4.76
Cal0_1 | 2024-04-22 13:56 | 1 | 7 | Naloxone-D | 0.74 | 881245 | N/A | 1 | N/A | 89.94 |  |  |  | 4.88
Cal0_1 | 2024-04-22 13:56 | 1 | 7 | Norbuprenorphine | 3.88 | 7423 | 0.019 | 1 | 1.265 | 63.28 | 64.67 |  |  | 4.75
Cal0_1 | 2024-04-22 13:56 | 1 | 7 | Norbuprenorphine-D | 3.86 | 393705 | N/A | 1 | N/A | 82.84 |  |  |  | 4.88
Cal0_1 | 2024-04-22 13:56 | 1 | 7 | Norbuprenorphine-Gluc | N/F | N/F | N/F | 1 | N/F |  |  |  |  | 4.74
Cal0_1 | 2024-04-22 13:56 | 1 | 7 | Norbuprenorphine-Gluc-D | 2.1 | 93185 | N/A | 1 | N/A | 56.96 |  |  |  | 4.88
Cal0_3 | 2024-04-22 14:01 | 3 | 8 | Buprenorphine | 4.88 | 4237 | 0.012 | 1 | 1.173 | 96.4 | 25.04
Cal0_3 | 2024-04-22 14:01 | 3 | 8 | Buprenorphine-D | 4.86 | 356672 | N/A | 1 | N/A | 40.45
Cal0_3 | 2024-04-22 14:01 | 3 | 8 | Buprenorphine-Gluc | N/F | N/F | N/F | 1 | N/F |  |  |  |  | 4.73
Cal0_3 | 2024-04-22 14:01 | 3 | 8 | Buprenorphine-Gluc-D | 3.58 | 155006 | N/A | 1 | N/A | 43.47 |  |  |  | 4.88
Cal0_3 | 2024-04-22 14:01 | 3 | 8 | Naloxone | 0.88 | 101858 | 0.151 | 5 | 4.834 | 90.14 | 79.96 |  |  | 4.71
Cal0_3 | 2024-04-22 14:01 | 3 | 8 | Naloxone-D | 0.84 | 676475 | N/A | 1 | N/A | 91.03 |  |  |  | 4.88
Cal0_3 | 2024-04-22 14:01 | 3 | 8 | Norbuprenorphine | 3.9 | 5596 | 0.018 | 1 | 1.158 | 64.91 | 69.82
Cal0_3 | 2024-04-22 14:01 | 3 | 8 | Norbuprenorphine-D | 3.9 | 317468 | N/A | 1 | N/A | 82.77
Cal0_3 | 2024-04-22 14:01 | 3 | 8 | Norbuprenorphine-Gluc | N/F | N/F | N/F | 1 | N/F
Cal0_3 | 2024-04-22 14:01 | 3 | 8 | Norbuprenorphine-Gluc-D | 2.27 | 77040 | N/A | 1 | N/A | 57.95
Cal1_1 | 2024-04-22 14:08 | 1 | 9 | Buprenorphine | 4.79 | 11390 | 0.025 | 2 | 2.174 | 90.58 | 9.49
Cal1_1 | 2024-04-22 14:08 | 1 | 9 | Buprenorphine-D | 4.77 | 449199 | N/A | 1 | N/A | 41.18
Cal1_1 | 2024-04-22 14:08 | 1 | 9 | Buprenorphine-Gluc | 3.5 | 8440 | 0.042 | 2 | 2.051 | 108.84 | 8.64
Cal1_1 | 2024-04-22 14:08 | 1 | 9 | Buprenorphine-Gluc-D | 3.46 | 199757 | N/A | 1 | N/A | 42.58
Cal1_1 | 2024-04-22 14:08 | 1 | 9 | Naloxone | 0.78 | 258668 | 0.292 | 10 | 9.694 | 89.2 | 79.26
Cal1_1 | 2024-04-22 14:08 | 1 | 9 | Naloxone-D | 0.74 | 887099 | N/A | 1 | N/A | 90.14
Cal1_1 | 2024-04-22 14:08 | 1 | 9 | Norbuprenorphine | 3.85 | 11613 | 0.027 | 2 | 1.936 | 77.41 | 71.46
Cal1_1 | 2024-04-22 14:08 | 1 | 9 | Norbuprenorphine-D | 3.85 | 437113 | N/A | 1 | N/A | 76.52
Cal1_1 | 2024-04-22 14:08 | 1 | 9 | Norbuprenorphine-Gluc | 2.1 | 5287 | 0.047 | 2 | 1.936 | 64.72 | 57.95
Cal1_1 | 2024-04-22 14:08 | 1 | 9 | Norbuprenorphine-Gluc-D | 2.09 | 111408 | N/A | 1 | N/A | 56.67
Cal1_3 | 2024-04-22 14:13 | 3 | 10 | Buprenorphine | 4.88 | 10421 | 0.024 | 2 | 2.108 | 91.58 | 8.79
Cal1_3 | 2024-04-22 14:13 | 3 | 10 | Buprenorphine-D | 4.86 | 425933 | N/A | 1 | N/A | 40.69
Cal1_3 | 2024-04-22 14:13 | 3 | 10 | Buprenorphine-Gluc | 3.59 | 9411 | 0.05 | 2 | 2.391 | 94.81 | 3.9
Cal1_3 | 2024-04-22 14:13 | 3 | 10 | Buprenorphine-Gluc-D | 3.58 | 187449 | N/A | 1 | N/A | 45.53
Cal1_3 | 2024-04-22 14:13 | 3 | 10 | Naloxone | 0.88 | 244758 | 0.294 | 10 | 9.762 | 91.62 | 81.7
Cal1_3 | 2024-04-22 14:13 | 3 | 10 | Naloxone-D | 0.84 | 833777 | N/A | 1 | N/A | 88.15
Cal1_3 | 2024-04-22 14:13 | 3 | 10 | Norbuprenorphine | 3.92 | 10900 | 0.029 | 2 | 2.13 | 79.57 | 74.71
Cal1_3 | 2024-04-22 14:13 | 3 | 10 | Norbuprenorphine-D | 3.9 | 378502 | N/A | 1 | N/A | 82.88
Cal1_3 | 2024-04-22 14:13 | 3 | 10 | Norbuprenorphine-Gluc | 2.26 | 5062 | 0.053 | 2 | 2.204 | 61.08 | 56.78
Cal1_3 | 2024-04-22 14:13 | 3 | 10 | Norbuprenorphine-Gluc-D | 2.27 | 94881 | N/A | 1 | N/A | 58.04
Cal1a_1 | 2024-04-22 14:20 | 1 | 11 | Buprenorphine | 4.76 | 25012 | 0.056 | 5 | 4.426 | 102.4 | 8.68
Cal1a_1 | 2024-04-22 14:20 | 1 | 11 | Buprenorphine-D | 4.76 | 449322 | N/A | 1 | N/A | 40.22
Cal1a_1 | 2024-04-22 14:20 | 1 | 11 | Buprenorphine-Gluc | 3.46 | 21565 | 0.116 | 5 | 5.221 | 99.29 | 5.82
Cal1a_1 | 2024-04-22 14:20 | 1 | 11 | Buprenorphine-Gluc-D | 3.44 | 185431 | N/A | 1 | N/A | 41.85
Cal1a_1 | 2024-04-22 14:20 | 1 | 11 | Naloxone | 0.78 | 647694 | 0.724 | 25 | 24.597 | 87.98 | 79
Cal1a_1 | 2024-04-22 14:20 | 1 | 11 | Naloxone-D | 0.74 | 894702 | N/A | 1 | N/A | 89.06
Cal1a_1 | 2024-04-22 14:20 | 1 | 11 | Norbuprenorphine | 3.83 | 23853 | 0.057 | 5 | 4.57 | 81.97 | 75.17
Cal1a_1 | 2024-04-22 14:20 | 1 | 11 | Norbuprenorphine-D | 3.83 | 419726 | N/A | 1 | N/A | 82.19
Cal1a_1 | 2024-04-22 14:20 | 1 | 11 | Norbuprenorphine-Gluc | 2.08 | 13092 | 0.119 | 5 | 5.184 | 57.36 | 51.31
Cal1a_1 | 2024-04-22 14:20 | 1 | 11 | Norbuprenorphine-Gluc-D | 2.07 | 110114 | N/A | 1 | N/A | 59.12
Cal1a_3 | 2024-04-22 14:26 | 3 | 12 | Buprenorphine | 4.88 | 26108 | 0.061 | 5 | 4.849 | 93.81 | 9.38
Cal1a_3 | 2024-04-22 14:26 | 3 | 12 | Buprenorphine-D | 4.86 | 425407 | N/A | 1 | N/A | 40.61
Cal1a_3 | 2024-04-22 14:26 | 3 | 12 | Buprenorphine-Gluc | 3.6 | 21298 | 0.114 | 5 | 5.11 | 95.47 | 4.45
Cal1a_3 | 2024-04-22 14:26 | 3 | 12 | Buprenorphine-Gluc-D | 3.58 | 187301 | N/A | 1 | N/A | 43.74
Cal1a_3 | 2024-04-22 14:26 | 3 | 12 | Naloxone | 0.88 | 612803 | 0.747 | 25 | 25.38 | 88.96 | 78.86
Cal1a_3 | 2024-04-22 14:26 | 3 | 12 | Naloxone-D | 0.84 | 820733 | N/A | 1 | N/A | 89.47
Cal1a_3 | 2024-04-22 14:26 | 3 | 12 | Norbuprenorphine | 3.92 | 22182 | 0.057 | 5 | 4.553 | 79.69 | 75.42
Cal1a_3 | 2024-04-22 14:26 | 3 | 12 | Norbuprenorphine-D | 3.9 | 391713 | N/A | 1 | N/A | 81.81
Cal1a_3 | 2024-04-22 14:26 | 3 | 12 | Norbuprenorphine-Gluc | 2.27 | 10762 | 0.114 | 5 | 4.978 | 63.76 | 61.13
Cal1a_3 | 2024-04-22 14:26 | 3 | 12 | Norbuprenorphine-Gluc-D | 2.27 | 94102 | N/A | 1 | N/A | 58.54
Cal2_1 | 2024-04-22 14:32 | 1 | 13 | Buprenorphine | 4.75 | 56363 | 0.125 | 10 | 9.553 | 94.74 | 7.75
Cal2_1 | 2024-04-22 14:32 | 1 | 13 | Buprenorphine-D | 4.75 | 451993 | N/A | 1 | N/A | 41.16
Cal2_1 | 2024-04-22 14:32 | 1 | 13 | Buprenorphine-Gluc | 3.46 | 41283 | 0.219 | 10 | 9.635 | 97 | 4.06
Cal2_1 | 2024-04-22 14:32 | 1 | 13 | Buprenorphine-Gluc-D | 3.43 | 188165 | N/A | 1 | N/A | 43.18
Cal2_1 | 2024-04-22 14:32 | 1 | 13 | Naloxone | 0.78 | 1317844 | 1.486 | 50 | 50.872 | 87.99 | 78.82
Cal2_1 | 2024-04-22 14:32 | 1 | 13 | Naloxone-D | 0.74 | 886721 | N/A | 1 | N/A | 90.27
Cal2_1 | 2024-04-22 14:32 | 1 | 13 | Norbuprenorphine | 3.82 | 46875 | 0.113 | 10 | 9.444 | 82.51 | 77.94
Cal2_1 | 2024-04-22 14:32 | 1 | 13 | Norbuprenorphine-D | 3.8 | 415443 | N/A | 1 | N/A | 81.78
Cal2_1 | 2024-04-22 14:32 | 1 | 13 | Norbuprenorphine-Gluc | 2.07 | 24336 | 0.218 | 10 | 9.678 | 59.5 | 58.79
Cal2_1 | 2024-04-22 14:32 | 1 | 13 | Norbuprenorphine-Gluc-D | 2.05 | 111777 | N/A | 1 | N/A | 57.01
Cal2_3 | 2024-04-22 14:38 | 3 | 14 | Buprenorphine | 4.88 | 54510 | 0.124 | 10 | 9.521 | 92.29 | 7.31
Cal2_3 | 2024-04-22 14:38 | 3 | 14 | Buprenorphine-D | 4.86 | 438661 | N/A | 1 | N/A | 40.53
Cal2_3 | 2024-04-22 14:38 | 3 | 14 | Buprenorphine-Gluc | 3.59 | 38497 | 0.205 | 10 | 9.001 | 110.74 | 4.39
Cal2_3 | 2024-04-22 14:38 | 3 | 14 | Buprenorphine-Gluc-D | 3.58 | 188178 | N/A | 1 | N/A | 42.39
Cal2_3 | 2024-04-22 14:38 | 3 | 14 | Naloxone | 0.88 | 1252452 | 1.525 | 50 | 52.205 | 87.92 | 77.2
Cal2_3 | 2024-04-22 14:38 | 3 | 14 | Naloxone-D | 0.84 | 821339 | N/A | 1 | N/A | 90.5
Cal2_3 | 2024-04-22 14:38 | 3 | 14 | Norbuprenorphine | 3.92 | 43047 | 0.109 | 10 | 9.131 | 85.71 | 79.94
Cal2_3 | 2024-04-22 14:38 | 3 | 14 | Norbuprenorphine-D | 3.9 | 394097 | N/A | 1 | N/A | 81.17
Cal2_3 | 2024-04-22 14:38 | 3 | 14 | Norbuprenorphine-Gluc | 2.27 | 21162 | 0.218 | 10 | 9.708 | 58.22 | 60.57
Cal2_3 | 2024-04-22 14:38 | 3 | 14 | Norbuprenorphine-Gluc-D | 2.27 | 96899 | N/A | 1 | N/A | 56.66
Cal3_1 | 2024-04-22 14:44 | 1 | 15 | Buprenorphine | 4.74 | 569848 | 1.225 | 100 | 91.286 | 95.69 | 6.87
Cal3_1 | 2024-04-22 14:44 | 1 | 15 | Buprenorphine-D | 4.72 | 465152 | N/A | 1 | N/A | 40.75
Cal3_1 | 2024-04-22 14:44 | 1 | 15 | Buprenorphine-Gluc | 3.44 | 437144 | 2.194 | 100 | 94.194 | 105.07 | 3.89
Cal3_1 | 2024-04-22 14:44 | 1 | 15 | Buprenorphine-Gluc-D | 3.4 | 199208 | N/A | 1 | N/A | 42.41
Cal3_1 | 2024-04-22 14:44 | 1 | 15 | Naloxone | 0.78 | 12868730 | 15.223 | 500 | 524.377 | 87.94 | 78.59
Cal3_1 | 2024-04-22 14:44 | 1 | 15 | Naloxone-D | 0.74 | 845338 | N/A | 1 | N/A | 90.33
Cal3_1 | 2024-04-22 14:44 | 1 | 15 | Norbuprenorphine | 3.8 | 471438 | 1.108 | 100 | 96.06 | 81.3 | 74.87
Cal3_1 | 2024-04-22 14:44 | 1 | 15 | Norbuprenorphine-D | 3.79 | 425476 | N/A | 1 | N/A | 81.65
Cal3_1 | 2024-04-22 14:44 | 1 | 15 | Norbuprenorphine-Gluc | 2.06 | 244375 | 2.137 | 100 | 96.953 | 57.86 | 56.39
Cal3_1 | 2024-04-22 14:44 | 1 | 15 | Norbuprenorphine-Gluc-D | 2.04 | 114350 | N/A | 1 | N/A | 56.12
Cal3_3 | 2024-04-22 14:50 | 3 | 16 | Buprenorphine | 4.88 | 519470 | 1.219 | 100 | 90.815 | 94.75 | 6.94
Cal3_3 | 2024-04-22 14:50 | 3 | 16 | Buprenorphine-D | 4.86 | 426237 | N/A | 1 | N/A | 40.01
Cal3_3 | 2024-04-22 14:50 | 3 | 16 | Buprenorphine-Gluc | 3.6 | 406913 | 2.184 | 100 | 93.747 | 101.02 | 3.82
Cal3_3 | 2024-04-22 14:50 | 3 | 16 | Buprenorphine-Gluc-D | 3.58 | 186320 | N/A | 1 | N/A | 47.4
Cal3_3 | 2024-04-22 14:50 | 3 | 16 | Naloxone | 0.88 | 12023136 | 15.143 | 500 | 521.621 | 89.59 | 79.3
Cal3_3 | 2024-04-22 14:50 | 3 | 16 | Naloxone-D | 0.84 | 793962 | N/A | 1 | N/A | 89.57
Cal3_3 | 2024-04-22 14:50 | 3 | 16 | Norbuprenorphine | 3.92 | 416804 | 1.055 | 100 | 91.437 | 84.27 | 76.51
Cal3_3 | 2024-04-22 14:50 | 3 | 16 | Norbuprenorphine-D | 3.9 | 395106 | N/A | 1 | N/A | 79.82
Cal3_3 | 2024-04-22 14:50 | 3 | 16 | Norbuprenorphine-Gluc | 2.27 | 210116 | 2.178 | 100 | 98.802 | 58.7 | 57.02
Cal3_3 | 2024-04-22 14:50 | 3 | 16 | Norbuprenorphine-Gluc-D | 2.25 | 96484 | N/A | 1 | N/A | 57.27
Cal5_1 | 2024-04-22 14:56 | 1 | 17 | Buprenorphine | 4.73 | 1150386 | 3.815 | 300 | 283.637 | 94.61 | 6.68
Cal5_1 | 2024-04-22 14:56 | 1 | 17 | Buprenorphine-D | 4.72 | 301566 | N/A | 1 | N/A | 41.29
Cal5_1 | 2024-04-22 14:56 | 1 | 17 | Buprenorphine-Gluc | 3.41 | 1064898 | 6.772 | 300 | 290.199 | 98.87 | 3.52
Cal5_1 | 2024-04-22 14:56 | 1 | 17 | Buprenorphine-Gluc-D | 3.4 | 157241 | N/A | 1 | N/A | 41.65
Cal5_1 | 2024-04-22 14:56 | 1 | 17 | Naloxone | 0.78 | 34797782 | 44.375 | 1500 | 1529.231 | 88.66 | 79.2
Cal5_1 | 2024-04-22 14:56 | 1 | 17 | Naloxone-D | 0.74 | 784171 | N/A | 1 | N/A | 90.95
Cal5_1 | 2024-04-22 14:56 | 1 | 17 | Norbuprenorphine | 3.79 | 677485 | 3.427 | 300 | 297.868 | 83.26 | 75.68
Cal5_1 | 2024-04-22 14:56 | 1 | 17 | Norbuprenorphine-D | 3.78 | 197704 | N/A | 1 | N/A | 81.68
Cal5_1 | 2024-04-22 14:56 | 1 | 17 | Norbuprenorphine-Gluc | 2.05 | 742553 | 6.505 | 300 | 295.549 | 57.71 | 56.69
Cal5_1 | 2024-04-22 14:56 | 1 | 17 | Norbuprenorphine-Gluc-D | 2.04 | 114158 | N/A | 1 | N/A | 57.42
Cal5_3 | 2024-04-22 15:02 | 3 | 18 | Buprenorphine | 4.88 | 1520689 | 3.741 | 300 | 278.179 | 94.14 | 6.72
Cal5_3 | 2024-04-22 15:02 | 3 | 18 | Buprenorphine-D | 4.86 | 406467 | N/A | 1 | N/A | 40.16
Cal5_3 | 2024-04-22 15:02 | 3 | 18 | Buprenorphine-Gluc | 3.6 | 1164077 | 6.683 | 300 | 286.381 | 99.61 | 3.97
Cal5_3 | 2024-04-22 15:02 | 3 | 18 | Buprenorphine-Gluc-D | 3.58 | 174179 | N/A | 1 | N/A | 42.57
Cal5_3 | 2024-04-22 15:02 | 3 | 18 | Naloxone | 0.89 | 30621098 | 44.465 | 1500 | 1532.342 | 89.32 | 80.08
Cal5_3 | 2024-04-22 15:02 | 3 | 18 | Naloxone-D | 0.84 | 688649 | N/A | 1 | N/A | 90.62
Cal5_3 | 2024-04-22 15:02 | 3 | 18 | Norbuprenorphine | 3.92 | 1217916 | 3.379 | 300 | 293.715 | 81.6 | 75.46
Cal5_3 | 2024-04-22 15:02 | 3 | 18 | Norbuprenorphine-D | 3.9 | 360433 | N/A | 1 | N/A | 79.64
Cal5_3 | 2024-04-22 15:02 | 3 | 18 | Norbuprenorphine-Gluc | 2.27 | 596250 | 6.58 | 300 | 298.999 | 58.22 | 55.92
Cal5_3 | 2024-04-22 15:02 | 3 | 18 | Norbuprenorphine-Gluc-D | 2.27 | 90609 | N/A | 1 | N/A | 58.65
Cal7_1 | 2024-04-22 15:08 | 1 | 19 | Buprenorphine | 4.73 | 1843996 | 6.763 | 500 | 502.593 | 93.05 | 6.67
Cal7_1 | 2024-04-22 15:08 | 1 | 19 | Buprenorphine-D | 4.71 | 272679 | N/A | 1 | N/A | 42.55
Cal7_1 | 2024-04-22 15:08 | 1 | 19 | Buprenorphine-Gluc | 3.41 | 1542380 | 12.133 | 500 | 519.706 | 99.53 | 3.77
Cal7_1 | 2024-04-22 15:08 | 1 | 19 | Buprenorphine-Gluc-D | 3.4 | 127124 | N/A | 1 | N/A | 49.5
Cal7_1 | 2024-04-22 15:08 | 1 | 19 | Naloxone | 0.78 | 46403356 | 72.058 | 2500 | 2483.433 | 89.82 | 81.12
Cal7_1 | 2024-04-22 15:08 | 1 | 19 | Naloxone-D | 0.74 | 643974 | N/A | 1 | N/A | 91.24
Cal7_1 | 2024-04-22 15:08 | 1 | 19 | Norbuprenorphine | 3.78 | 1023943 | 5.792 | 500 | 503.716 | 86.95 | 77.9
Cal7_1 | 2024-04-22 15:08 | 1 | 19 | Norbuprenorphine-D | 3.76 | 176789 | N/A | 1 | N/A | 82.54
Cal7_1 | 2024-04-22 15:08 | 1 | 19 | Norbuprenorphine-Gluc | 2.05 | 1069840 | 10.996 | 500 | 499.77 | 56.97 | 55.62
Cal7_1 | 2024-04-22 15:08 | 1 | 19 | Norbuprenorphine-Gluc-D | 2.03 | 97295 | N/A | 1 | N/A | 58.29
Cal7_3 | 2024-04-22 15:14 | 3 | 20 | Buprenorphine | 4.88 | 2839626 | 6.58 | 500 | 489.061 | 95.33 | 6.6
Cal7_3 | 2024-04-22 15:14 | 3 | 20 | Buprenorphine-D | 4.86 | 431531 | N/A | 1 | N/A | 41.47
Cal7_3 | 2024-04-22 15:14 | 3 | 20 | Buprenorphine-Gluc | 3.6 | 2079203 | 11.483 | 500 | 491.898 | 99.3 | 3.66
Cal7_3 | 2024-04-22 15:14 | 3 | 20 | Buprenorphine-Gluc-D | 3.58 | 181062 | N/A | 1 | N/A | 43.06
Cal7_3 | 2024-04-22 15:14 | 3 | 20 | Naloxone | 0.88 | 49777793 | 72.351 | 2500 | 2493.541 | 89.11 | 79.12
Cal7_3 | 2024-04-22 15:14 | 3 | 20 | Naloxone-D | 0.84 | 688004 | N/A | 1 | N/A | 90.06
Cal7_3 | 2024-04-22 15:14 | 3 | 20 | Norbuprenorphine | 3.92 | 2185487 | 5.616 | 500 | 488.419 | 81.91 | 75.17
Cal7_3 | 2024-04-22 15:14 | 3 | 20 | Norbuprenorphine-D | 3.9 | 389144 | N/A | 1 | N/A | 76.95
Cal7_3 | 2024-04-22 15:14 | 3 | 20 | Norbuprenorphine-Gluc | 2.27 | 1100920 | 11.223 | 500 | 510.123 | 56.88 | 55.72
Cal7_3 | 2024-04-22 15:14 | 3 | 20 | Norbuprenorphine-Gluc-D | 2.27 | 98091 | N/A | 1 | N/A | 58.18
Cal8_1 | 2024-04-22 15:20 | 1 | 21 | Buprenorphine | 4.71 | 6868620 | 13.914 | 1000 | 1033.821 | 94.56 | 6.69
Cal8_1 | 2024-04-22 15:20 | 1 | 21 | Buprenorphine-D | 4.7 | 493631 | N/A | 1 | N/A | 42.01
Cal8_1 | 2024-04-22 15:20 | 1 | 21 | Buprenorphine-Gluc | 3.41 | 4529182 | 23.48 | 1000 | 1005.547 | 98.07 | 3.58
Cal8_1 | 2024-04-22 15:20 | 1 | 21 | Buprenorphine-Gluc-D | 3.38 | 192892 | N/A | 1 | N/A | 41.37
Cal8_1 | 2024-04-22 15:20 | 1 | 21 | Naloxone | 0.78 | 91594213 | 143.939 | 5000 | 4961.125 | 89.95 | 80.16
Cal8_1 | 2024-04-22 15:20 | 1 | 21 | Naloxone-D | 0.74 | 636342 | N/A | 1 | N/A | 91.44
Cal8_1 | 2024-04-22 15:20 | 1 | 21 | Norbuprenorphine | 3.77 | 5007502 | 11.442 | 1000 | 995.497 | 84.05 | 76.92
Cal8_1 | 2024-04-22 15:20 | 1 | 21 | Norbuprenorphine-D | 3.76 | 437629 | N/A | 1 | N/A | 81.78
Cal8_1 | 2024-04-22 15:20 | 1 | 21 | Norbuprenorphine-Gluc | 2.03 | 2554859 | 21.703 | 1000 | 986.662 | 57.44 | 56.46
Cal8_1 | 2024-04-22 15:20 | 1 | 21 | Norbuprenorphine-Gluc-D | 2.03 | 117716 | N/A | 1 | N/A | 55.44
Cal8_3 | 2024-04-22 15:26 | 3 | 22 | Buprenorphine | 4.88 | 6101137 | 13.885 | 1000 | 1031.623 | 95 | 6.59
Cal8_3 | 2024-04-22 15:26 | 3 | 22 | Buprenorphine-D | 4.86 | 439408 | N/A | 1 | N/A | 41.37
Cal8_3 | 2024-04-22 15:26 | 3 | 22 | Buprenorphine-Gluc | 3.6 | 4175975 | 23.793 | 1000 | 1018.918 | 98.96 | 3.5
Cal8_3 | 2024-04-22 15:26 | 3 | 22 | Buprenorphine-Gluc-D | 3.58 | 175515 | N/A | 1 | N/A | 42.54
Cal8_3 | 2024-04-22 15:26 | 3 | 22 | Naloxone | 0.88 | 87419079 | 143.685 | 5000 | 4952.382 | 88.64 | 79.16
Cal8_3 | 2024-04-22 15:26 | 3 | 22 | Naloxone-D | 0.84 | 608408 | N/A | 1 | N/A | 89.87
Cal8_3 | 2024-04-22 15:26 | 3 | 22 | Norbuprenorphine | 3.92 | 4495826 | 11.897 | 1000 | 1035.101 | 82.57 | 76
Cal8_3 | 2024-04-22 15:26 | 3 | 22 | Norbuprenorphine-D | 3.9 | 377883 | N/A | 1 | N/A | 80.47
Cal8_3 | 2024-04-22 15:26 | 3 | 22 | Norbuprenorphine-Gluc | 2.27 | 2213293 | 22.293 | 1000 | 1013.455 | 57.69 | 55.71
Cal8_3 | 2024-04-22 15:26 | 3 | 22 | Norbuprenorphine-Gluc-D | 2.27 | 99283 | N/A | 1 | N/A | 57.24
Blank4_1 | 2024-04-22 15:31 | 1 | 23 | Buprenorphine | 4.7 | 5174 | 0 | N/A | N/A | 90.71 | 8.42
Blank4_1 | 2024-04-22 15:31 | 1 | 23 | Buprenorphine-D | N/F | N/F | N/F | 1 | N/F
Blank4_1 | 2024-04-22 15:31 | 1 | 23 | Buprenorphine-Gluc | N/F | N/F | N/F | N/A | N/F
Blank4_1 | 2024-04-22 15:31 | 1 | 23 | Buprenorphine-Gluc-D | N/F | N/F | N/F | 1 | N/F
Blank4_1 | 2024-04-22 15:31 | 1 | 23 | Naloxone | N/F | N/F | N/F | N/A | N/F
Blank4_1 | 2024-04-22 15:31 | 1 | 23 | Naloxone-D | N/F | N/F | N/F | 1 | N/F
Blank4_1 | 2024-04-22 15:31 | 1 | 23 | Norbuprenorphine | N/F | N/F | N/F | N/A | N/F
Blank4_1 | 2024-04-22 15:31 | 1 | 23 | Norbuprenorphine-D | N/F | N/F | N/F | 1 | N/F
Blank4_1 | 2024-04-22 15:31 | 1 | 23 | Norbuprenorphine-Gluc | N/F | N/F | N/F | N/A | N/F
Blank4_1 | 2024-04-22 15:31 | 1 | 23 | Norbuprenorphine-Gluc-D | N/F | N/F | N/F | 1 | N/F
Blank4_3 | 2024-04-22 15:38 | 3 | 24 | Buprenorphine | 4.86 | 2463 | 0 | N/A | N/A | 93.64 | 8.23
Blank4_3 | 2024-04-22 15:38 | 3 | 24 | Buprenorphine-D | N/F | N/F | N/F | 1 | N/F
Blank4_3 | 2024-04-22 15:38 | 3 | 24 | Buprenorphine-Gluc | N/F | N/F | N/F | N/A | N/F
Blank4_3 | 2024-04-22 15:38 | 3 | 24 | Buprenorphine-Gluc-D | N/F | N/F | N/F | 1 | N/F
Blank4_3 | 2024-04-22 15:38 | 3 | 24 | Naloxone | N/F | N/F | N/F | N/A | N/F
Blank4_3 | 2024-04-22 15:38 | 3 | 24 | Naloxone-D | N/F | N/F | N/F | 1 | N/F
Blank4_3 | 2024-04-22 15:38 | 3 | 24 | Norbuprenorphine | N/F | N/F | N/F | N/A | N/F
Blank4_3 | 2024-04-22 15:38 | 3 | 24 | Norbuprenorphine-D | N/F | N/F | N/F | 1 | N/F
Blank4_3 | 2024-04-22 15:38 | 3 | 24 | Norbuprenorphine-Gluc | N/F | N/F | N/F | N/A | N/F
Blank4_3 | 2024-04-22 15:38 | 3 | 24 | Norbuprenorphine-Gluc-D | N/F | N/F | N/F | 1 | N/F
QC1-1_INJ001 | 2024-04-22 15:43 | 1 | 25 | Buprenorphine | N/F | N/F | N/F | 0 | N/F
QC1-1_INJ001 | 2024-04-22 15:43 | 1 | 25 | Buprenorphine-D | 4.7 | 428420 | N/A | 1 | N/A | 39.83
QC1-1_INJ001 | 2024-04-22 15:43 | 1 | 25 | Buprenorphine-Gluc | N/F | N/F | N/F | 0 | N/F
QC1-1_INJ001 | 2024-04-22 15:43 | 1 | 25 | Buprenorphine-Gluc-D | 3.38 | 186936 | N/A | 1 | N/A | 41.9
QC1-1_INJ001 | 2024-04-22 15:43 | 1 | 25 | Naloxone | N/F | N/F | N/F | 0 | N/F
QC1-1_INJ001 | 2024-04-22 15:43 | 1 | 25 | Naloxone-D | 0.75 | 811359 | N/A | 1 | N/A | 89.13
QC1-1_INJ001 | 2024-04-22 15:43 | 1 | 25 | Norbuprenorphine | N/F | N/F | N/F | 0 | N/F
QC1-1_INJ001 | 2024-04-22 15:43 | 1 | 25 | Norbuprenorphine-D | 3.75 | 383487 | N/A | 1 | N/A | 83.1
QC1-1_INJ001 | 2024-04-22 15:43 | 1 | 25 | Norbuprenorphine-Gluc | N/F | N/F | N/F | 0 | N/F
QC1-1_INJ001 | 2024-04-22 15:43 | 1 | 25 | Norbuprenorphine-Gluc-D | 2.03 | 105079 | N/A | 1 | N/A | 57.35
QC1-1 | 2024-04-22 15:50 | 3 | 26 | Buprenorphine | N/F | N/F | N/F | 0 | N/F
QC1-1 | 2024-04-22 15:50 | 3 | 26 | Buprenorphine-D | 4.86 | 394627 | N/A | 1 | N/A | 41.5
QC1-1 | 2024-04-22 15:50 | 3 | 26 | Buprenorphine-Gluc | N/F | N/F | N/F | 0 | N/F
QC1-1 | 2024-04-22 15:50 | 3 | 26 | Buprenorphine-Gluc-D | 3.58 | 172285 | N/A | 1 | N/A | 43.1
QC1-1 | 2024-04-22 15:50 | 3 | 26 | Naloxone | N/F | N/F | N/F | 0 | N/F
QC1-1 | 2024-04-22 15:50 | 3 | 26 | Naloxone-D | 0.85 | 746051 | N/A | 1 | N/A | 87.9
QC1-1 | 2024-04-22 15:50 | 3 | 26 | Norbuprenorphine | N/F | N/F | N/F | 0 | N/F
QC1-1 | 2024-04-22 15:50 | 3 | 26 | Norbuprenorphine-D | 3.9 | 347736 | N/A | 1 | N/A | 84.07
QC1-1 | 2024-04-22 15:50 | 3 | 26 | Norbuprenorphine-Gluc | N/F | N/F | N/F | 0 | N/F
QC1-1 | 2024-04-22 15:50 | 3 | 26 | Norbuprenorphine-Gluc-D | 2.27 | 92427 | N/A | 1 | N/A | 55.43
QC1-2_INJ001 | 2024-04-22 15:56 | 1 | 27 | Buprenorphine | N/F | N/F | N/F | 0 | N/F
QC1-2_INJ001 | 2024-04-22 15:56 | 1 | 27 | Buprenorphine-D | 4.69 | 416701 | N/A | 1 | N/A | 40.43
QC1-2_INJ001 | 2024-04-22 15:56 | 1 | 27 | Buprenorphine-Gluc | N/F | N/F | N/F | 0 | N/F
QC1-2_INJ001 | 2024-04-22 15:56 | 1 | 27 | Buprenorphine-Gluc-D | 3.36 | 179632 | N/A | 1 | N/A | 43.73
QC1-2_INJ001 | 2024-04-22 15:56 | 1 | 27 | Naloxone | N/F | N/F | N/F | 0 | N/F
QC1-2_INJ001 | 2024-04-22 15:56 | 1 | 27 | Naloxone-D | 0.75 | 807112 | N/A | 1 | N/A | 88.97
QC1-2_INJ001 | 2024-04-22 15:56 | 1 | 27 | Norbuprenorphine | N/F | N/F | N/F | 0 | N/F
QC1-2_INJ001 | 2024-04-22 15:56 | 1 | 27 | Norbuprenorphine-D | 3.74 | 382267 | N/A | 1 | N/A | 77.94
QC1-2_INJ001 | 2024-04-22 15:56 | 1 | 27 | Norbuprenorphine-Gluc | N/F | N/F | N/F | 0 | N/F
QC1-2_INJ001 | 2024-04-22 15:56 | 1 | 27 | Norbuprenorphine-Gluc-D | 2.02 | 106683 | N/A | 1 | N/A | 57.23
QC1-2 | 2024-04-22 16:02 | 3 | 28 | Buprenorphine | N/F | N/F | N/F | 0 | N/F
QC1-2 | 2024-04-22 16:02 | 3 | 28 | Buprenorphine-D | 4.86 | 390329 | N/A | 1 | N/A | 40.16
QC1-2 | 2024-04-22 16:02 | 3 | 28 | Buprenorphine-Gluc | N/F | N/F | N/F | 0 | N/F
QC1-2 | 2024-04-22 16:02 | 3 | 28 | Buprenorphine-Gluc-D | 3.58 | 177825 | N/A | 1 | N/A | 43.28
QC1-2 | 2024-04-22 16:02 | 3 | 28 | Naloxone | N/F | N/F | N/F | 0 | N/F
QC1-2 | 2024-04-22 16:02 | 3 | 28 | Naloxone-D | 0.85 | 739405 | N/A | 1 | N/A | 88.62
QC1-2 | 2024-04-22 16:02 | 3 | 28 | Norbuprenorphine | N/F | N/F | N/F | 0 | N/F
QC1-2 | 2024-04-22 16:02 | 3 | 28 | Norbuprenorphine-D | 3.9 | 343444 | N/A | 1 | N/A | 84.12
QC1-2 | 2024-04-22 16:02 | 3 | 28 | Norbuprenorphine-Gluc | N/F | N/F | N/F | 0 | N/F
QC1-2 | 2024-04-22 16:02 | 3 | 28 | Norbuprenorphine-Gluc-D | 2.27 | 94074 | N/A | 1 | N/A | 56.48
QC1-3_INJ001 | 2024-04-22 16:08 | 1 | 29 | Buprenorphine | N/F | N/F | N/F | 0 | N/F
QC1-3_INJ001 | 2024-04-22 16:08 | 1 | 29 | Buprenorphine-D | 4.67 | 379468 | N/A | 1 | N/A | 40.62
QC1-3_INJ001 | 2024-04-22 16:08 | 1 | 29 | Buprenorphine-Gluc | N/F | N/F | N/F | 0 | N/F
QC1-3_INJ001 | 2024-04-22 16:08 | 1 | 29 | Buprenorphine-Gluc-D | 3.35 | 149211 | N/A | 1 | N/A | 43.14
QC1-3_INJ001 | 2024-04-22 16:08 | 1 | 29 | Naloxone | N/F | N/F | N/F | 0 | N/F
QC1-3_INJ001 | 2024-04-22 16:08 | 1 | 29 | Naloxone-D | 0.75 | 659730 | N/A | 1 | N/A | 89.55
QC1-3_INJ001 | 2024-04-22 16:08 | 1 | 29 | Norbuprenorphine | N/F | N/F | N/F | 0 | N/F
QC1-3_INJ001 | 2024-04-22 16:08 | 1 | 29 | Norbuprenorphine-D | 3.73 | 324516 | N/A | 1 | N/A | 80.11
QC1-3_INJ001 | 2024-04-22 16:08 | 1 | 29 | Norbuprenorphine-Gluc | N/F | N/F | N/F | 0 | N/F
QC1-3_INJ001 | 2024-04-22 16:08 | 1 | 29 | Norbuprenorphine-Gluc-D | 2 | 85487 | N/A | 1 | N/A | 57.76
QC1-3 | 2024-04-22 16:14 | 3 | 30 | Buprenorphine | N/F | N/F | N/F | 0 | N/F
QC1-3 | 2024-04-22 16:14 | 3 | 30 | Buprenorphine-D | 4.86 | 398471 | N/A | 1 | N/A | 40.8
QC1-3 | 2024-04-22 16:14 | 3 | 30 | Buprenorphine-Gluc | N/F | N/F | N/F | 0 | N/F
QC1-3 | 2024-04-22 16:14 | 3 | 30 | Buprenorphine-Gluc-D | 3.58 | 180265 | N/A | 1 | N/A | 44.61
QC1-3 | 2024-04-22 16:14 | 3 | 30 | Naloxone | N/F | N/F | N/F | 0 | N/F
QC1-3 | 2024-04-22 16:14 | 3 | 30 | Naloxone-D | 0.85 | 738906 | N/A | 1 | N/A | 88.84
QC1-3 | 2024-04-22 16:14 | 3 | 30 | Norbuprenorphine | N/F | N/F | N/F | 0 | N/F
QC1-3 | 2024-04-22 16:14 | 3 | 30 | Norbuprenorphine-D | 3.9 | 357729 | N/A | 1 | N/A | 81.06
QC1-3 | 2024-04-22 16:14 | 3 | 30 | Norbuprenorphine-Gluc | N/F | N/F | N/F | 0 | N/F
QC1-3 | 2024-04-22 16:14 | 3 | 30 | Norbuprenorphine-Gluc-D | 2.27 | 92914 | N/A | 1 | N/A | 54.54
QC2-1_INJ001 | 2024-04-22 16:20 | 1 | 31 | Buprenorphine | 4.68 | 7954 | 0.019 | 1.2 | 1.675 | 93.91 | 8.82
QC2-1_INJ001 | 2024-04-22 16:20 | 1 | 31 | Buprenorphine-D | 4.67 | 426780 | N/A | 1 | N/A | 40.14
QC2-1_INJ001 | 2024-04-22 16:20 | 1 | 31 | Buprenorphine-Gluc | 3.36 | 14387 | 0.082 | 3 | 3.737 | 98.86 | 7.77
QC2-1_INJ001 | 2024-04-22 16:20 | 1 | 31 | Buprenorphine-Gluc-D | 3.34 | 176242 | N/A | 1 | N/A | 41.77
QC2-1_INJ001 | 2024-04-22 16:20 | 1 | 31 | Naloxone | 0.79 | 171839 | 0.215 | 6 | 7.051 | 89.13 | 78.49
QC2-1_INJ001 | 2024-04-22 16:20 | 1 | 31 | Naloxone-D | 0.75 | 799617 | N/A | 1 | N/A | 89.83
QC2-1_INJ001 | 2024-04-22 16:20 | 1 | 31 | Norbuprenorphine | 3.74 | 7653 | 0.02 | 1.2 | 1.351 | 82.99 | 73.64
QC2-1_INJ001 | 2024-04-22 16:20 | 1 | 31 | Norbuprenorphine-D | 3.73 | 385553 | N/A | 1 | N/A | 76.8
QC2-1_INJ001 | 2024-04-22 16:20 | 1 | 31 | Norbuprenorphine-Gluc | 2.01 | 9157 | 0.086 | 3 | 3.685 | 58.61 | 59.63
QC2-1_INJ001 | 2024-04-22 16:20 | 1 | 31 | Norbuprenorphine-Gluc-D | 2 | 106580 | N/A | 1 | N/A | 55.91
QC2-1 | 2024-04-22 16:26 | 3 | 32 | Buprenorphine | 4.88 | 6711 | 0.017 | 1.2 | 1.552 | 105.76 | 12.11
QC2-1 | 2024-04-22 16:26 | 3 | 32 | Buprenorphine-D | 4.86 | 395187 | N/A | 1 | N/A | 39.82
QC2-1 | 2024-04-22 16:26 | 3 | 32 | Buprenorphine-Gluc | 3.6 | 14279 | 0.081 | 3 | 3.712 | 109.98 | 1.65
QC2-1 | 2024-04-22 16:26 | 3 | 32 | Buprenorphine-Gluc-D | 3.58 | 176176 | N/A | 1 | N/A | 42.77
QC2-1 | 2024-04-22 16:26 | 3 | 32 | Naloxone | 0.89 | 161661 | 0.219 | 6 | 7.209 | 87.73 | 78.16
QC2-1 | 2024-04-22 16:26 | 3 | 32 | Naloxone-D | 0.85 | 736513 | N/A | 1 | N/A | 88.22
QC2-1 | 2024-04-22 16:26 | 3 | 32 | Norbuprenorphine | 3.92 | 7130 | 0.02 | 1.2 | 1.371 | 77.77 | 74.54
QC2-1 | 2024-04-22 16:26 | 3 | 32 | Norbuprenorphine-D | 3.9 | 355205 | N/A | 1 | N/A | 80.78
QC2-1 | 2024-04-22 16:26 | 3 | 32 | Norbuprenorphine-Gluc | 2.27 | 8039 | 0.087 | 3 | 3.711 | 61.71 | 61.36
QC2-1 | 2024-04-22 16:26 | 3 | 32 | Norbuprenorphine-Gluc-D | 2.27 | 92935 | N/A | 1 | N/A | 56.54
QC2-2_INJ001 | 2024-04-22 16:32 | 1 | 33 | Buprenorphine | 4.68 | 7480 | 0.018 | 1.2 | 1.592 | 94.16 | 10.67
QC2-2_INJ001 | 2024-04-22 16:32 | 1 | 33 | Buprenorphine-D | 4.66 | 427022 | N/A | 1 | N/A | 40.42
QC2-2_INJ001 | 2024-04-22 16:32 | 1 | 33 | Buprenorphine-Gluc | 3.36 | 14691 | 0.08 | 3 | 3.677 | 105.95 | 7.07
QC2-2_INJ001 | 2024-04-22 16:32 | 1 | 33 | Buprenorphine-Gluc-D | 3.34 | 183110 | N/A | 1 | N/A | 42.83
QC2-2_INJ001 | 2024-04-22 16:32 | 1 | 33 | Naloxone | 0.79 | 170223 | 0.213 | 6 | 6.994 | 88.69 | 77.26
QC2-2_INJ001 | 2024-04-22 16:32 | 1 | 33 | Naloxone-D | 0.75 | 798247 | N/A | 1 | N/A | 90.75
QC2-2_INJ001 | 2024-04-22 16:32 | 1 | 33 | Norbuprenorphine | 3.74 | 8118 | 0.021 | 1.2 | 1.464 | 78.1 | 76.4
QC2-2_INJ001 | 2024-04-22 16:32 | 1 | 33 | Norbuprenorphine-D | 3.71 | 384036 | N/A | 1 | N/A | 82.54
QC2-2_INJ001 | 2024-04-22 16:32 | 1 | 33 | Norbuprenorphine-Gluc | 2.01 | 8839 | 0.082 | 3 | 3.528 | 64.17 | 59.72
QC2-2_INJ001 | 2024-04-22 16:32 | 1 | 33 | Norbuprenorphine-Gluc-D | 2 | 107188 | N/A | 1 | N/A | 56.86
QC2-2 | 2024-04-22 16:38 | 3 | 34 | Buprenorphine | 4.88 | 6811 | 0.018 | 1.2 | 1.605 | 95.26 | 11.21
QC2-2 | 2024-04-22 16:38 | 3 | 34 | Buprenorphine-D | 4.86 | 385087 | N/A | 1 | N/A | 40.84
QC2-2 | 2024-04-22 16:38 | 3 | 34 | Buprenorphine-Gluc | 3.6 | 15418 | 0.087 | 3 | 3.982 | 92.21 | 4.67
QC2-2 | 2024-04-22 16:38 | 3 | 34 | Buprenorphine-Gluc-D | 3.58 | 176487 | N/A | 1 | N/A | 41.83
QC2-2 | 2024-04-22 16:38 | 3 | 34 | Naloxone | 0.89 | 153492 | 0.21 | 6 | 6.877 | 90.78 | 79.22
QC2-2 | 2024-04-22 16:38 | 3 | 34 | Naloxone-D | 0.85 | 731416 | N/A | 1 | N/A | 89.3
QC2-2 | 2024-04-22 16:38 | 3 | 34 | Norbuprenorphine | 3.92 | 6608 | 0.019 | 1.2 | 1.267 | 80.52 | 75.17
QC2-2 | 2024-04-22 16:38 | 3 | 34 | Norbuprenorphine-D | 3.9 | 350140 | N/A | 1 | N/A | 79.67
QC2-2 | 2024-04-22 16:38 | 3 | 34 | Norbuprenorphine-Gluc | 2.27 | 7681 | 0.08 | 3 | 3.43 | 69.25 | 66.99
QC2-2 | 2024-04-22 16:38 | 3 | 34 | Norbuprenorphine-Gluc-D | 2.27 | 95631 | N/A | 1 | N/A | 55.63
QC2-3_INJ001 | 2024-04-22 16:44 | 1 | 35 | Buprenorphine | 4.68 | 7481 | 0.018 | 1.2 | 1.621 | 95.35 | 11.22
QC2-3_INJ001 | 2024-04-22 16:44 | 1 | 35 | Buprenorphine-D | 4.66 | 417584 | N/A | 1 | N/A | 40.43
QC2-3_INJ001 | 2024-04-22 16:44 | 1 | 35 | Buprenorphine-Gluc | 3.36 | 15125 | 0.088 | 3 | 3.998 | 95.73 | 5.37
QC2-3_INJ001 | 2024-04-22 16:44 | 1 | 35 | Buprenorphine-Gluc-D | 3.34 | 172393 | N/A | 1 | N/A | 45.3
QC2-3_INJ001 | 2024-04-22 16:44 | 1 | 35 | Naloxone | 0.79 | 170892 | 0.215 | 6 | 7.051 | 86.6 | 78.96
QC2-3_INJ001 | 2024-04-22 16:44 | 1 | 35 | Naloxone-D | 0.76 | 795221 | N/A | 1 | N/A | 89.56
QC2-3_INJ001 | 2024-04-22 16:44 | 1 | 35 | Norbuprenorphine | 3.73 | 7274 | 0.02 | 1.2 | 1.326 | 82.79 | 78.44
QC2-3_INJ001 | 2024-04-22 16:44 | 1 | 35 | Norbuprenorphine-D | 3.73 | 371852 | N/A | 1 | N/A | 80.62
QC2-3_INJ001 | 2024-04-22 16:44 | 1 | 35 | Norbuprenorphine-Gluc | 2.01 | 8861 | 0.084 | 3 | 3.588 | 63.7 | 61.53
QC2-3_INJ001 | 2024-04-22 16:44 | 1 | 35 | Norbuprenorphine-Gluc-D | 2 | 105753 | N/A | 1 | N/A | 56.18
QC2-3 | 2024-04-22 16:50 | 3 | 36 | Buprenorphine | 4.88 | 7280 | 0.018 | 1.2 | 1.635 | 100.39 | 9.5
QC2-3 | 2024-04-22 16:50 | 3 | 36 | Buprenorphine-D | 4.86 | 402121 | N/A | 1 | N/A | 40.11
QC2-3 | 2024-04-22 16:50 | 3 | 36 | Buprenorphine-Gluc | 3.6 | 13853 | 0.081 | 3 | 3.701 | 111.69 | 6.66
QC2-3 | 2024-04-22 16:50 | 3 | 36 | Buprenorphine-Gluc-D | 3.58 | 171436 | N/A | 1 | N/A | 40.93
QC2-3 | 2024-04-22 16:50 | 3 | 36 | Naloxone | 0.89 | 156789 | 0.22 | 6 | 7.219 | 91.6 | 80.28
QC2-3 | 2024-04-22 16:50 | 3 | 36 | Naloxone-D | 0.85 | 713443 | N/A | 1 | N/A | 89.74
QC2-3 | 2024-04-22 16:50 | 3 | 36 | Norbuprenorphine | 3.92 | 6685 | 0.019 | 1.2 | 1.269 | 80.54 | 84.12
QC2-3 | 2024-04-22 16:50 | 3 | 36 | Norbuprenorphine-D | 3.9 | 353593 | N/A | 1 | N/A | 81.89
QC2-3 | 2024-04-22 16:50 | 3 | 36 | Norbuprenorphine-Gluc | 2.27 | 7787 | 0.083 | 3 | 3.571 | 60.23 | 63.38
QC2-3 | 2024-04-22 16:50 | 3 | 36 | Norbuprenorphine-Gluc-D | 2.27 | 93353 | N/A | 1 | N/A | 56.94
QC3-1_INJ001 | 2024-04-22 16:56 | 1 | 37 | Buprenorphine | 4.66 | 22675 | 0.052 | 3.2 | 4.142 | 94.1 | 8.27
QC3-1_INJ001 | 2024-04-22 16:56 | 1 | 37 | Buprenorphine-D | 4.65 | 437285 | N/A | 1 | N/A | 39.91
QC3-1_INJ001 | 2024-04-22 16:56 | 1 | 37 | Buprenorphine-Gluc | 3.35 | 42978 | 0.239 | 8 | 10.474 | 98.69 | 5.11
QC3-1_INJ001 | 2024-04-22 16:56 | 1 | 37 | Buprenorphine-Gluc-D | 3.33 | 179840 | N/A | 1 | N/A | 45.27
QC3-1_INJ001 | 2024-04-22 16:56 | 1 | 37 | Naloxone | 0.79 | 482749 | 0.619 | 16 | 20.975 | 89.24 | 77.79
QC3-1_INJ001 | 2024-04-22 16:56 | 1 | 37 | Naloxone-D | 0.76 | 780068 | N/A | 1 | N/A | 91.52
QC3-1_INJ001 | 2024-04-22 16:56 | 1 | 37 | Norbuprenorphine | 3.72 | 20303 | 0.051 | 3.2 | 4.094 | 78.99 | 73.07
QC3-1_INJ001 | 2024-04-22 16:56 | 1 | 37 | Norbuprenorphine-D | 3.7 | 395269 | N/A | 1 | N/A | 81.32
QC3-1_INJ001 | 2024-04-22 16:56 | 1 | 37 | Norbuprenorphine-Gluc | 2.01 | 25211 | 0.24 | 8 | 10.692 | 62.27 | 57
QC3-1_INJ001 | 2024-04-22 16:56 | 1 | 37 | Norbuprenorphine-Gluc-D | 1.99 | 105038 | N/A | 1 | N/A | 56.79
QC3-1 | 2024-04-22 17:02 | 3 | 38 | Buprenorphine | 4.88 | 21664 | 0.055 | 3.2 | 4.378 | 86.98 | 8.62
QC3-1 | 2024-04-22 17:02 | 3 | 38 | Buprenorphine-D | 4.86 | 393739 | N/A | 1 | N/A | 40.26
QC3-1 | 2024-04-22 17:02 | 3 | 38 | Buprenorphine-Gluc | 3.6 | 41877 | 0.241 | 8 | 10.56 | 103.35 | 4.15
QC3-1 | 2024-04-22 17:02 | 3 | 38 | Buprenorphine-Gluc-D | 3.58 | 173762 | N/A | 1 | N/A | 45.6
QC3-1 | 2024-04-22 17:02 | 3 | 38 | Naloxone | 0.89 | 451811 | 0.625 | 16 | 21.191 | 88.49 | 78.65
QC3-1 | 2024-04-22 17:02 | 3 | 38 | Naloxone-D | 0.85 | 722764 | N/A | 1 | N/A | 89.87
QC3-1 | 2024-04-22 17:02 | 3 | 38 | Norbuprenorphine | 3.9 | 17464 | 0.049 | 3.2 | 3.848 | 81.09 | 76.85
QC3-1 | 2024-04-22 17:02 | 3 | 38 | Norbuprenorphine-D | 3.9 | 359878 | N/A | 1 | N/A | 80.17
QC3-1 | 2024-04-22 17:02 | 3 | 38 | Norbuprenorphine-Gluc | 2.27 | 23164 | 0.246 | 8 | 10.969 | 58.87 | 56.09
QC3-1 | 2024-04-22 17:02 | 3 | 38 | Norbuprenorphine-Gluc-D | 2.27 | 94115 | N/A | 1 | N/A | 58.11
QC3-2_INJ001 | 2024-04-22 17:08 | 1 | 39 | Buprenorphine | 4.66 | 21637 | 0.049 | 3.2 | 3.956 | 98.47 | 7.25
QC3-2_INJ001 | 2024-04-22 17:08 | 1 | 39 | Buprenorphine-D | 4.65 | 438442 | N/A | 1 | N/A | 41.42
QC3-2_INJ001 | 2024-04-22 17:08 | 1 | 39 | Buprenorphine-Gluc | 3.36 | 44570 | 0.242 | 8 | 10.593 | 85.63 | 4.86
QC3-2_INJ001 | 2024-04-22 17:08 | 1 | 39 | Buprenorphine-Gluc-D | 3.33 | 184360 | N/A | 1 | N/A | 42.71
QC3-2_INJ001 | 2024-04-22 17:08 | 1 | 39 | Naloxone | 0.79 | 488657 | 0.616 | 16 | 20.882 | 87.49 | 77.09
QC3-2_INJ001 | 2024-04-22 17:08 | 1 | 39 | Naloxone-D | 0.75 | 793085 | N/A | 1 | N/A | 90.53
QC3-2_INJ001 | 2024-04-22 17:08 | 1 | 39 | Norbuprenorphine | 3.72 | 20517 | 0.052 | 3.2 | 4.118 | 77.43 | 75.81
QC3-2_INJ001 | 2024-04-22 17:08 | 1 | 39 | Norbuprenorphine-D | 3.71 | 397320 | N/A | 1 | N/A | 81.48
QC3-2_INJ001 | 2024-04-22 17:08 | 1 | 39 | Norbuprenorphine-Gluc | 2.01 | 27280 | 0.258 | 8 | 11.525 | 54.72 | 52.89
QC3-2_INJ001 | 2024-04-22 17:08 | 1 | 39 | Norbuprenorphine-Gluc-D | 1.99 | 105598 | N/A | 1 | N/A | 58.41
QC3-2 | 2024-04-22 17:15 | 3 | 40 | Buprenorphine | 4.88 | 20030 | 0.051 | 3.2 | 4.09 | 94.15 | 7.88
QC3-2 | 2024-04-22 17:15 | 3 | 40 | Buprenorphine-D | 4.86 | 391588 | N/A | 1 | N/A | 41.36
QC3-2 | 2024-04-22 17:15 | 3 | 40 | Buprenorphine-Gluc | 3.6 | 41548 | 0.227 | 8 | 9.982 | 95.32 | 2.6
QC3-2 | 2024-04-22 17:15 | 3 | 40 | Buprenorphine-Gluc-D | 3.58 | 182640 | N/A | 1 | N/A | 41.77
QC3-2 | 2024-04-22 17:15 | 3 | 40 | Naloxone | 0.89 | 453725 | 0.631 | 16 | 21.38 | 87 | 77.56
QC3-2 | 2024-04-22 17:15 | 3 | 40 | Naloxone-D | 0.85 | 719505 | N/A | 1 | N/A | 90.25
QC3-2 | 2024-04-22 17:15 | 3 | 40 | Norbuprenorphine | 3.92 | 17684 | 0.049 | 3.2 | 3.919 | 74.97 | 72.69
QC3-2 | 2024-04-22 17:15 | 3 | 40 | Norbuprenorphine-D | 3.9 | 358367 | N/A | 1 | N/A | 80.72
QC3-2 | 2024-04-22 17:15 | 3 | 40 | Norbuprenorphine-Gluc | 2.27 | 23033 | 0.243 | 8 | 10.813 | 57 | 56.88
QC3-2 | 2024-04-22 17:15 | 3 | 40 | Norbuprenorphine-Gluc-D | 2.27 | 94909 | N/A | 1 | N/A | 56.42
QC3-3_INJ001 | 2024-04-22 17:20 | 1 | 41 | Buprenorphine | 4.66 | 20734 | 0.05 | 3.2 | 3.97 | 97.66 | 7.97
QC3-3_INJ001 | 2024-04-22 17:20 | 1 | 41 | Buprenorphine-D | 4.65 | 418569 | N/A | 1 | N/A | 40.86
QC3-3_INJ001 | 2024-04-22 17:20 | 1 | 41 | Buprenorphine-Gluc | 3.35 | 42582 | 0.243 | 8 | 10.628 | 100.27 | 4.39
QC3-3_INJ001 | 2024-04-22 17:20 | 1 | 41 | Buprenorphine-Gluc-D | 3.33 | 175537 | N/A | 1 | N/A | 41.87
QC3-3_INJ001 | 2024-04-22 17:20 | 1 | 41 | Naloxone | 0.79 | 486291 | 0.607 | 16 | 20.557 | 89.52 | 79.35
QC3-3_INJ001 | 2024-04-22 17:20 | 1 | 41 | Naloxone-D | 0.76 | 801487 | N/A | 1 | N/A | 89.73
QC3-3_INJ001 | 2024-04-22 17:20 | 1 | 41 | Norbuprenorphine | 3.72 | 19521 | 0.053 | 3.2 | 4.219 | 79.46 | 70.12
QC3-3_INJ001 | 2024-04-22 17:20 | 1 | 41 | Norbuprenorphine-D | 3.7 | 369736 | N/A | 1 | N/A | 83.93
QC3-3_INJ001 | 2024-04-22 17:20 | 1 | 41 | Norbuprenorphine-Gluc | 2 | 26752 | 0.241 | 8 | 10.747 | 56.72 | 59.96
QC3-3_INJ001 | 2024-04-22 17:20 | 1 | 41 | Norbuprenorphine-Gluc-D | 1.99 | 110899 | N/A | 1 | N/A | 56.18
QC3-3 | 2024-04-22 17:27 | 3 | 42 | Buprenorphine | 4.88 | 19765 | 0.049 | 3.2 | 3.953 | 92.29 | 6.05
QC3-3 | 2024-04-22 17:27 | 3 | 42 | Buprenorphine-D | 4.86 | 400921 | N/A | 1 | N/A | 39.09
QC3-3 | 2024-04-22 17:27 | 3 | 42 | Buprenorphine-Gluc | 3.59 | 43055 | 0.242 | 8 | 10.589 | 91.63 | 3.53
QC3-3 | 2024-04-22 17:27 | 3 | 42 | Buprenorphine-Gluc-D | 3.58 | 178161 | N/A | 1 | N/A | 40.74
QC3-3 | 2024-04-22 17:27 | 3 | 42 | Naloxone | 0.89 | 456030 | 0.621 | 16 | 21.052 | 88.67 | 77.01
QC3-3 | 2024-04-22 17:27 | 3 | 42 | Naloxone-D | 0.85 | 734253 | N/A | 1 | N/A | 89.23
QC3-3 | 2024-04-22 17:27 | 3 | 42 | Norbuprenorphine | 3.92 | 17186 | 0.047 | 3.2 | 3.714 | 81.64 | 73.73
QC3-3 | 2024-04-22 17:27 | 3 | 42 | Norbuprenorphine-D | 3.9 | 365692 | N/A | 1 | N/A | 80.19
QC3-3 | 2024-04-22 17:27 | 3 | 42 | Norbuprenorphine-Gluc | 2.27 | 23149 | 0.249 | 8 | 11.121 | 59.31 | 57.04
QC3-3 | 2024-04-22 17:27 | 3 | 42 | Norbuprenorphine-Gluc-D | 2.27 | 92797 | N/A | 1 | N/A | 58.55
QC4-1_INJ001 | 2024-04-22 17:32 | 1 | 43 | Buprenorphine | 4.65 | 59729 | 0.148 | 10 | 11.297 | 94.56 | 7.32
QC4-1_INJ001 | 2024-04-22 17:32 | 1 | 43 | Buprenorphine-D | 4.65 | 403083 | N/A | 1 | N/A | 39.93
QC4-1_INJ001 | 2024-04-22 17:32 | 1 | 43 | Buprenorphine-Gluc | 3.34 | 104569 | 0.694 | 25 | 29.946 | 100.56 | 5.24
QC4-1_INJ001 | 2024-04-22 17:32 | 1 | 43 | Buprenorphine-Gluc-D | 3.31 | 150720 | N/A | 1 | N/A | 46.94
QC4-1_INJ001 | 2024-04-22 17:32 | 1 | 43 | Naloxone | 0.81 | 1263730 | 1.854 | 50 | 63.537 | 88.5 | 77.77
QC4-1_INJ001 | 2024-04-22 17:32 | 1 | 43 | Naloxone-D | 0.76 | 681760 | N/A | 1 | N/A | 89.69
QC4-1_INJ001 | 2024-04-22 17:32 | 1 | 43 | Norbuprenorphine | 3.7 | 47221 | 0.136 | 10 | 11.49 | 83.39 | 76.82
QC4-1_INJ001 | 2024-04-22 17:32 | 1 | 43 | Norbuprenorphine-D | 3.7 | 346354 | N/A | 1 | N/A | 80.19
QC4-1_INJ001 | 2024-04-22 17:32 | 1 | 43 | Norbuprenorphine-Gluc | 2 | 65985 | 0.698 | 25 | 31.536 | 56.37 | 57.88
QC4-1_INJ001 | 2024-04-22 17:32 | 1 | 43 | Norbuprenorphine-Gluc-D | 1.99 | 94477 | N/A | 1 | N/A | 58.61
QC4-1 | 2024-04-22 17:39 | 3 | 44 | Buprenorphine | 4.88 | 58447 | 0.149 | 10 | 11.359 | 97.29 | 7.85
QC4-1 | 2024-04-22 17:39 | 3 | 44 | Buprenorphine-D | 4.86 | 392241 | N/A | 1 | N/A | 39.83
QC4-1 | 2024-04-22 17:39 | 3 | 44 | Buprenorphine-Gluc | 3.6 | 126350 | 0.69 | 25 | 29.785 | 94.4 | 3.41
QC4-1 | 2024-04-22 17:39 | 3 | 44 | Buprenorphine-Gluc-D | 3.58 | 183111 | N/A | 1 | N/A | 38.63
QC4-1 | 2024-04-22 17:39 | 3 | 44 | Naloxone | 0.89 | 1332999 | 1.84 | 50 | 63.065 | 90.18 | 79.54
QC4-1 | 2024-04-22 17:39 | 3 | 44 | Naloxone-D | 0.85 | 724477 | N/A | 1 | N/A | 89.7
QC4-1 | 2024-04-22 17:39 | 3 | 44 | Norbuprenorphine | 3.92 | 48623 | 0.138 | 10 | 11.596 | 81.56 | 73.28
QC4-1 | 2024-04-22 17:39 | 3 | 44 | Norbuprenorphine-D | 3.9 | 353488 | N/A | 1 | N/A | 80.06
QC4-1 | 2024-04-22 17:39 | 3 | 44 | Norbuprenorphine-Gluc | 2.27 | 67001 | 0.702 | 25 | 31.697 | 59.62 | 56.5
QC4-1 | 2024-04-22 17:39 | 3 | 44 | Norbuprenorphine-Gluc-D | 2.27 | 95447 | N/A | 1 | N/A | 55.96
QC4-2_INJ001 | 2024-04-22 17:44 | 1 | 45 | Buprenorphine | 4.66 | 28879 | 0.154 | 10 | 11.715 | 94.01 | 7.84
QC4-2_INJ001 | 2024-04-22 17:44 | 1 | 45 | Buprenorphine-D | 4.65 | 187764 | N/A | 1 | N/A | 40.15
QC4-2_INJ001 | 2024-04-22 17:44 | 1 | 45 | Buprenorphine-Gluc | 3.34 | 42306 | 0.67 | 25 | 28.909 | 110.98 | 4.74
QC4-2_INJ001 | 2024-04-22 17:44 | 1 | 45 | Buprenorphine-Gluc-D | 3.31 | 63184 | N/A | 1 | N/A | 44.39
QC4-2_INJ001 | 2024-04-22 17:44 | 1 | 45 | Naloxone | 0.81 | 507329 | 1.875 | 50 | 64.262 | 88.26 | 78.41
QC4-2_INJ001 | 2024-04-22 17:44 | 1 | 45 | Naloxone-D | 0.76 | 270623 | N/A | 1 | N/A | 91.33
QC4-2_INJ001 | 2024-04-22 17:44 | 1 | 45 | Norbuprenorphine | 3.72 | 20547 | 0.138 | 10 | 11.62 | 78.22 | 72.6
QC4-2_INJ001 | 2024-04-22 17:44 | 1 | 45 | Norbuprenorphine-D | 3.7 | 149074 | N/A | 1 | N/A | 79.59
QC4-2_INJ001 | 2024-04-22 17:44 | 1 | 45 | Norbuprenorphine-Gluc | 2.01 | 26582 | 0.751 | 25 | 33.941 | 58.43 | 54.67
QC4-2_INJ001 | 2024-04-22 17:44 | 1 | 45 | Norbuprenorphine-Gluc-D | 1.99 | 35381 | N/A | 1 | N/A | 60.26
QC4-2 | 2024-04-22 17:51 | 3 | 46 | Buprenorphine | 4.88 | 59440 | 0.153 | 10 | 11.684 | 92.64 | 7.46
QC4-2 | 2024-04-22 17:51 | 3 | 46 | Buprenorphine-D | 4.87 | 387529 | N/A | 1 | N/A | 40.55
QC4-2 | 2024-04-22 17:51 | 3 | 46 | Buprenorphine-Gluc | 3.6 | 122753 | 0.671 | 25 | 28.98 | 97.22 | 5.07
QC4-2 | 2024-04-22 17:51 | 3 | 46 | Buprenorphine-Gluc-D | 3.58 | 182882 | N/A | 1 | N/A | 43.08
QC4-2 | 2024-04-22 17:51 | 3 | 46 | Naloxone | 0.89 | 1332795 | 1.861 | 50 | 63.792 | 89.92 | 78.1
QC4-2 | 2024-04-22 17:51 | 3 | 46 | Naloxone-D | 0.85 | 716161 | N/A | 1 | N/A | 89.66
QC4-2 | 2024-04-22 17:51 | 3 | 46 | Norbuprenorphine | 3.92 | 47526 | 0.132 | 10 | 11.101 | 80.89 | 75.39
QC4-2 | 2024-04-22 17:51 | 3 | 46 | Norbuprenorphine-D | 3.91 | 360403 | N/A | 1 | N/A | 80.79
QC4-2 | 2024-04-22 17:51 | 3 | 46 | Norbuprenorphine-Gluc | 2.27 | 65852 | 0.695 | 25 | 31.374 | 61.07 | 57.53
QC4-2 | 2024-04-22 17:51 | 3 | 46 | Norbuprenorphine-Gluc-D | 2.27 | 94770 | N/A | 1 | N/A | 56.86
QC4-3_INJ001 | 2024-04-22 17:56 | 1 | 47 | Buprenorphine | 4.66 | 64709 | 0.152 | 10 | 11.582 | 93.42 | 7.35
QC4-3_INJ001 | 2024-04-22 17:56 | 1 | 47 | Buprenorphine-D | 4.65 | 425667 | N/A | 1 | N/A | 40.01
QC4-3_INJ001 | 2024-04-22 17:56 | 1 | 47 | Buprenorphine-Gluc | 3.35 | 121369 | 0.675 | 25 | 29.162 | 101.82 | 3.36
QC4-3_INJ001 | 2024-04-22 17:56 | 1 | 47 | Buprenorphine-Gluc-D | 3.33 | 179681 | N/A | 1 | N/A | 41.62
QC4-3_INJ001 | 2024-04-22 17:56 | 1 | 47 | Naloxone | 0.81 | 1476135 | 1.865 | 50 | 63.917 | 88.63 | 77.81
QC4-3_INJ001 | 2024-04-22 17:56 | 1 | 47 | Naloxone-D | 0.76 | 791639 | N/A | 1 | N/A | 89.15
QC4-3_INJ001 | 2024-04-22 17:56 | 1 | 47 | Norbuprenorphine | 3.72 | 53041 | 0.143 | 10 | 12.048 | 80.32 | 75.76
QC4-3_INJ001 | 2024-04-22 17:56 | 1 | 47 | Norbuprenorphine-D | 3.7 | 371576 | N/A | 1 | N/A | 85.4
QC4-3_INJ001 | 2024-04-22 17:56 | 1 | 47 | Norbuprenorphine-Gluc | 2.01 | 76843 | 0.705 | 25 | 31.813 | 58.72 | 59.03
QC4-3_INJ001 | 2024-04-22 17:56 | 1 | 47 | Norbuprenorphine-Gluc-D | 1.99 | 109073 | N/A | 1 | N/A | 57.43
QC4-3 | 2024-04-22 18:03 | 3 | 48 | Buprenorphine | 4.88 | 59141 | 0.149 | 10 | 11.361 | 94.24 | 7.66
QC4-3 | 2024-04-22 18:03 | 3 | 48 | Buprenorphine-D | 4.87 | 396830 | N/A | 1 | N/A | 40.46
QC4-3 | 2024-04-22 18:03 | 3 | 48 | Buprenorphine-Gluc | 3.6 | 120286 | 0.656 | 25 | 28.317 | 100.11 | 3.78
QC4-3 | 2024-04-22 18:03 | 3 | 48 | Buprenorphine-Gluc-D | 3.59 | 183439 | N/A | 1 | N/A | 40.35
QC4-3 | 2024-04-22 18:03 | 3 | 48 | Naloxone | 0.89 | 1343663 | 1.87 | 50 | 64.104 | 88.47 | 78.56
QC4-3 | 2024-04-22 18:03 | 3 | 48 | Naloxone-D | 0.85 | 718505 | N/A | 1 | N/A | 90.64
QC4-3 | 2024-04-22 18:03 | 3 | 48 | Norbuprenorphine | 3.92 | 46578 | 0.132 | 10 | 11.098 | 84.2 | 79.16
QC4-3 | 2024-04-22 18:03 | 3 | 48 | Norbuprenorphine-D | 3.91 | 353297 | N/A | 1 | N/A | 80.83
QC4-3 | 2024-04-22 18:03 | 3 | 48 | Norbuprenorphine-Gluc | 2.27 | 65798 | 0.713 | 25 | 32.205 | 58.41 | 59.13
QC4-3 | 2024-04-22 18:03 | 3 | 48 | Norbuprenorphine-Gluc-D | 2.27 | 92265 | N/A | 1 | N/A | 58.69
buparup1_INJ001 | 2024-04-22 18:09 | 1 | 49 | Buprenorphine | 4.7 | 59374 | 0.26 | N/A | 19.625 | 93.99 | 7.16
buparup1_INJ001 | 2024-04-22 18:09 | 1 | 49 | Buprenorphine-D | 4.7 | 228100 | N/A | 1 | N/A | 39.54
buparup1_INJ001 | 2024-04-22 18:09 | 1 | 49 | Buprenorphine-Gluc | 3.36 | 3758677 | 31.73 | N/A | 1358.755 | 101.65 | 3.41
buparup1_INJ001 | 2024-04-22 18:09 | 1 | 49 | Buprenorphine-Gluc-D | 3.35 | 118458 | N/A | 1 | N/A | 41.16
buparup1_INJ001 | 2024-04-22 18:09 | 1 | 49 | Naloxone | 0.84 | 1738169 | 4.762 | N/A | 163.781 | 87.33 | 78.25
buparup1_INJ001 | 2024-04-22 18:09 | 1 | 49 | Naloxone-D | 0.8 | 365022 | N/A | 1 | N/A | 87.81
buparup1_INJ001 | 2024-04-22 18:09 | 1 | 49 | Norbuprenorphine | 3.74 | 4844088 | 14.33 | N/A | 1246.793 | 82.65 | 76.82
buparup1_INJ001 | 2024-04-22 18:09 | 1 | 49 | Norbuprenorphine-D | 3.74 | 338046 | N/A | 1 | N/A | 79.6
buparup1_INJ001 | 2024-04-22 18:09 | 1 | 49 | Norbuprenorphine-Gluc | 2.02 | 21552101 | 114.913 | N/A | 5225.005 | 58.04 | 56.62
buparup1_INJ001 | 2024-04-22 18:09 | 1 | 49 | Norbuprenorphine-Gluc-D | 2.02 | 187552 | N/A | 1 | N/A | 40.22
buparup1 | 2024-04-22 18:15 | 3 | 50 | Buprenorphine | 4.93 | 52954 | 0.272 | N/A | 20.47 | 89.78 | 7.22
buparup1 | 2024-04-22 18:15 | 3 | 50 | Buprenorphine-D | 4.91 | 194922 | N/A | 1 | N/A | 41.65
buparup1 | 2024-04-22 18:15 | 3 | 50 | Buprenorphine-Gluc | 3.63 | 3843246 | 33.255 | N/A | 1424.02 | 98.84 | 3.4
buparup1 | 2024-04-22 18:15 | 3 | 50 | Buprenorphine-Gluc-D | 3.6 | 115571 | N/A | 1 | N/A | 44.72
buparup1 | 2024-04-22 18:15 | 3 | 50 | Naloxone | 0.92 | 2033445 | 4.953 | N/A | 170.361 | 87.56 | 77.75
buparup1 | 2024-04-22 18:15 | 3 | 50 | Naloxone-D | 0.89 | 410570 | N/A | 1 | N/A | 91.44
buparup1 | 2024-04-22 18:15 | 3 | 50 | Norbuprenorphine | 3.95 | 2223445 | 14.86 | N/A | 1292.922 | 83.52 | 76.39
buparup1 | 2024-04-22 18:15 | 3 | 50 | Norbuprenorphine-D | 3.94 | 149629 | N/A | 1 | N/A | 73.02
buparup1 | 2024-04-22 18:15 | 3 | 50 | Norbuprenorphine-Gluc | 2.28 | 20542104 | 115.116 | N/A | 5234.247 | 58.36 | 56.68
buparup1 | 2024-04-22 18:15 | 3 | 50 | Norbuprenorphine-Gluc-D | 2.29 | 178447 | N/A | 1 | N/A | 42.65
buparup2_INJ001 | 2024-04-22 18:21 | 1 | 51 | Buprenorphine | 4.68 | 3000832 | 8.648 | N/A | 642.666 | 95 | 6.64
buparup2_INJ001 | 2024-04-22 18:21 | 1 | 51 | Buprenorphine-D | 4.66 | 346984 | N/A | 1 | N/A | 39.78
buparup2_INJ001 | 2024-04-22 18:21 | 1 | 51 | Buprenorphine-Gluc | N/F | N/F | N/F | N/A | N/F
buparup2_INJ001 | 2024-04-22 18:21 | 1 | 51 | Buprenorphine-Gluc-D | 3.34 | 193148 | N/A | 1 | N/A | 45.07
buparup2_INJ001 | 2024-04-22 18:21 | 1 | 51 | Naloxone | 0.82 | 3050704 | 3.467 | N/A | 119.133 | 88.81 | 78.7
buparup2_INJ001 | 2024-04-22 18:21 | 1 | 51 | Naloxone-D | 0.78 | 880046 | N/A | 1 | N/A | 88.89
buparup2_INJ001 | 2024-04-22 18:21 | 1 | 51 | Norbuprenorphine | 3.73 | 53945 | 0.136 | N/A | 11.491 | 84.9 | 77.76
buparup2_INJ001 | 2024-04-22 18:21 | 1 | 51 | Norbuprenorphine-D | 3.71 | 395652 | N/A | 1 | N/A | 82.13
buparup2_INJ001 | 2024-04-22 18:21 | 1 | 51 | Norbuprenorphine-Gluc | N/F | N/F | N/F | N/A | N/F
buparup2_INJ001 | 2024-04-22 18:21 | 1 | 51 | Norbuprenorphine-Gluc-D | 2 | 112547 | N/A | 1 | N/A | 57.63
buparup2 | 2024-04-22 18:27 | 3 | 52 | Buprenorphine | 4.9 | 2264617 | 8.881 | N/A | 659.967 | 94.58 | 6.54
buparup2 | 2024-04-22 18:27 | 3 | 52 | Buprenorphine-D | 4.89 | 254988 | N/A | 1 | N/A | 41.75
buparup2 | 2024-04-22 18:27 | 3 | 52 | Buprenorphine-Gluc | N/F | N/F | N/F | N/A | N/F
buparup2 | 2024-04-22 18:27 | 3 | 52 | Buprenorphine-Gluc-D | 3.6 | 163285 | N/A | 1 | N/A | 44.77
buparup2 | 2024-04-22 18:27 | 3 | 52 | Naloxone | 0.91 | 2545636 | 3.488 | N/A | 119.876 | 87.78 | 77.56
buparup2 | 2024-04-22 18:27 | 3 | 52 | Naloxone-D | 0.86 | 729806 | N/A | 1 | N/A | 87.46
buparup2 | 2024-04-22 18:27 | 3 | 52 | Norbuprenorphine | 3.93 | 42380 | 0.139 | N/A | 11.705 | 85.54 | 81.14
buparup2 | 2024-04-22 18:27 | 3 | 52 | Norbuprenorphine-D | 3.93 | 305305 | N/A | 1 | N/A | 83.75
buparup2 | 2024-04-22 18:27 | 3 | 52 | Norbuprenorphine-Gluc | N/F | N/F | N/F | N/A | N/F
buparup2 | 2024-04-22 18:27 | 3 | 52 | Norbuprenorphine-Gluc-D | 2.28 | 92747 | N/A | 1 | N/A | 55.94
buparup3_INJ001 | 2024-04-22 18:33 | 1 | 53 | Buprenorphine | 4.66 | 8984772 | 17.202 | N/A | 1277.979 | 94.54 | 6.66
buparup3_INJ001 | 2024-04-22 18:33 | 1 | 53 | Buprenorphine-D | 4.65 | 522322 | N/A | 1 | N/A | 41.54
buparup3_INJ001 | 2024-04-22 18:33 | 1 | 53 | Buprenorphine-Gluc | 3.34 | 609478 | 3.719 | N/A | 159.455 | 101.13 | 3.84
buparup3_INJ001 | 2024-04-22 18:33 | 1 | 53 | Buprenorphine-Gluc-D | 3.33 | 163897 | N/A | 1 | N/A | 41.8
buparup3_INJ001 | 2024-04-22 18:33 | 1 | 53 | Naloxone | 0.82 | 3562490 | 5.931 | N/A | 204.076 | 88.65 | 78.56
buparup3_INJ001 | 2024-04-22 18:33 | 1 | 53 | Naloxone-D | 0.78 | 600671 | N/A | 1 | N/A | 90.68
buparup3_INJ001 | 2024-04-22 18:33 | 1 | 53 | Norbuprenorphine | 3.72 | 477526 | 1.297 | N/A | 112.479 | 82.6 | 75.31
buparup3_INJ001 | 2024-04-22 18:33 | 1 | 53 | Norbuprenorphine-D | 3.7 | 368270 | N/A | 1 | N/A | 80.76
buparup3_INJ001 | 2024-04-22 18:33 | 1 | 53 | Norbuprenorphine-Gluc | 2 | 887376 | 13.227 | N/A | 601.213 | 57.21 | 56.59
buparup3_INJ001 | 2024-04-22 18:33 | 1 | 53 | Norbuprenorphine-Gluc-D | 1.99 | 67090 | N/A | 1 | N/A | 57.79
buparup3 | 2024-04-22 18:39 | 3 | 54 | Buprenorphine | 4.89 | 8541516 | 17.456 | N/A | 1296.874 | 93.36 | 6.64
buparup3 | 2024-04-22 18:39 | 3 | 54 | Buprenorphine-D | 4.89 | 489317 | N/A | 1 | N/A | 41.16
buparup3 | 2024-04-22 18:39 | 3 | 54 | Buprenorphine-Gluc | 3.61 | 605297 | 3.723 | N/A | 159.656 | 98.74 | 3.84
buparup3 | 2024-04-22 18:39 | 3 | 54 | Buprenorphine-Gluc-D | 3.59 | 162568 | N/A | 1 | N/A | 41.93
buparup3 | 2024-04-22 18:39 | 3 | 54 | Naloxone | 0.91 | 3835811 | 6.291 | N/A | 216.506 | 88.74 | 78
buparup3 | 2024-04-22 18:39 | 3 | 54 | Naloxone-D | 0.86 | 609685 | N/A | 1 | N/A | 89.94
buparup3 | 2024-04-22 18:39 | 3 | 54 | Norbuprenorphine | 3.93 | 451883 | 1.273 | N/A | 110.384 | 81.57 | 76.75
buparup3 | 2024-04-22 18:39 | 3 | 54 | Norbuprenorphine-D | 3.91 | 355084 | N/A | 1 | N/A | 83.6
buparup3 | 2024-04-22 18:39 | 3 | 54 | Norbuprenorphine-Gluc | 2.28 | 1211002 | 13.587 | N/A | 617.616 | 57.57 | 55.73
buparup3 | 2024-04-22 18:39 | 3 | 54 | Norbuprenorphine-Gluc-D | 2.27 | 89126 | N/A | 1 | N/A | 57.67
buparup4_INJ001 | 2024-04-22 18:45 | 1 | 55 | Buprenorphine | 4.66 | 354417 | 0.673 | N/A | 50.272 | 95.28 | 7.07
buparup4_INJ001 | 2024-04-22 18:45 | 1 | 55 | Buprenorphine-D | 4.65 | 526699 | N/A | 1 | N/A | 39.58
buparup4_INJ001 | 2024-04-22 18:45 | 1 | 55 | Buprenorphine-Gluc | 3.34 | 21743736 | 161.737 | N/A | 6924.925 | 101.61 | 3.62
buparup4_INJ001 | 2024-04-22 18:45 | 1 | 55 | Buprenorphine-Gluc-D | 3.31 | 134439 | N/A | 1 | N/A | 46.8
buparup4_INJ001 | 2024-04-22 18:45 | 1 | 55 | Naloxone | 0.82 | 1261806 | 2.043 | N/A | 70.077 | 88.12 | 77.54
buparup4_INJ001 | 2024-04-22 18:45 | 1 | 55 | Naloxone-D | 0.78 | 617518 | N/A | 1 | N/A | 91.22
buparup4_INJ001 | 2024-04-22 18:45 | 1 | 55 | Norbuprenorphine | 3.7 | 2781047 | 8.504 | N/A | 739.73 | 83.1 | 76.4
buparup4_INJ001 | 2024-04-22 18:45 | 1 | 55 | Norbuprenorphine-D | 3.7 | 327042 | N/A | 1 | N/A | 80.22
buparup4_INJ001 | 2024-04-22 18:45 | 1 | 55 | Norbuprenorphine-Gluc | 1.98 | 7702692 | 68.933 | N/A | 3134.226 | 57.39 | 56.38
buparup4_INJ001 | 2024-04-22 18:45 | 1 | 55 | Norbuprenorphine-Gluc-D | 1.98 | 111742 | N/A | 1 | N/A | 51.99
buparup4 | 2024-04-22 18:51 | 3 | 56 | Buprenorphine | 4.9 | 365388 | 0.696 | N/A | 52.004 | 94.64 | 7
buparup4 | 2024-04-22 18:51 | 3 | 56 | Buprenorphine-D | 4.89 | 524816 | N/A | 1 | N/A | 40.97
buparup4 | 2024-04-22 18:51 | 3 | 56 | Buprenorphine-Gluc | 3.6 | 20963555 | 155.919 | N/A | 6675.853 | 101.26 | 3.6
buparup4 | 2024-04-22 18:51 | 3 | 56 | Buprenorphine-Gluc-D | 3.59 | 134451 | N/A | 1 | N/A | 45.87
buparup4 | 2024-04-22 18:51 | 3 | 56 | Naloxone | 0.91 | 1263291 | 2.105 | N/A | 72.193 | 87.18 | 77.63
buparup4 | 2024-04-22 18:51 | 3 | 56 | Naloxone-D | 0.86 | 600207 | N/A | 1 | N/A | 90.09
buparup4 | 2024-04-22 18:51 | 3 | 56 | Norbuprenorphine | 3.93 | 2711367 | 7.3 | N/A | 634.978 | 82.35 | 76.16
buparup4 | 2024-04-22 18:51 | 3 | 56 | Norbuprenorphine-D | 3.91 | 371416 | N/A | 1 | N/A | 72.71
buparup4 | 2024-04-22 18:51 | 3 | 56 | Norbuprenorphine-Gluc | 2.27 | 6534240 | 69.337 | N/A | 3152.603 | 57.5 | 56.11
buparup4 | 2024-04-22 18:51 | 3 | 56 | Norbuprenorphine-Gluc-D | 2.27 | 94239 | N/A | 1 | N/A | 52.69
buparup5_INJ001 | 2024-04-22 18:57 | 1 | 57 | Buprenorphine | 4.66 | 272113 | 1.08 | N/A | 80.496 | 94.29 | 6.84
buparup5_INJ001 | 2024-04-22 18:57 | 1 | 57 | Buprenorphine-D | 4.65 | 252001 | N/A | 1 | N/A | 40.51
buparup5_INJ001 | 2024-04-22 18:57 | 1 | 57 | Buprenorphine-Gluc | N/F | N/F | N/F | N/A | N/F
buparup5_INJ001 | 2024-04-22 18:57 | 1 | 57 | Buprenorphine-Gluc-D | 3.31 | 151156 | N/A | 1 | N/A | 43.5
buparup5_INJ001 | 2024-04-22 18:57 | 1 | 57 | Naloxone | 0.83 | 6432270 | 10.967 | N/A | 377.662 | 89.91 | 78.54
buparup5_INJ001 | 2024-04-22 18:57 | 1 | 57 | Naloxone-D | 0.79 | 586523 | N/A | 1 | N/A | 91.43
buparup5_INJ001 | 2024-04-22 18:57 | 1 | 57 | Norbuprenorphine | 3.72 | 2165687 | 5.599 | N/A | 486.923 | 81.89 | 74.55
buparup5_INJ001 | 2024-04-22 18:57 | 1 | 57 | Norbuprenorphine-D | 3.7 | 386802 | N/A | 1 | N/A | 78.57
buparup5_INJ001 | 2024-04-22 18:57 | 1 | 57 | Norbuprenorphine-Gluc | 2.01 | 8253 | 0.093 | N/A | 4.023 | 58.85 | 48.42
buparup5_INJ001 | 2024-04-22 18:57 | 1 | 57 | Norbuprenorphine-Gluc-D | 2 | 88401 | N/A | 1 | N/A | 56.44
buparup5 | 2024-04-22 19:04 | 3 | 58 | Buprenorphine | 4.89 | 260973 | 1.083 | N/A | 80.742 | 92.81 | 7.23
buparup5 | 2024-04-22 19:04 | 3 | 58 | Buprenorphine-D | 4.89 | 240946 | N/A | 1 | N/A | 41.07
buparup5 | 2024-04-22 19:04 | 3 | 58 | Buprenorphine-Gluc | N/F | N/F | N/F | N/A | N/F
buparup5 | 2024-04-22 19:04 | 3 | 58 | Buprenorphine-Gluc-D | 3.59 | 141051 | N/A | 1 | N/A | 41.9
buparup5 | 2024-04-22 19:04 | 3 | 58 | Naloxone | 0.91 | 6650689 | 11.132 | N/A | 383.352 | 88.75 | 78.64
buparup5 | 2024-04-22 19:04 | 3 | 58 | Naloxone-D | 0.86 | 597446 | N/A | 1 | N/A | 89.32
buparup5 | 2024-04-22 19:04 | 3 | 58 | Norbuprenorphine | 3.93 | 2024171 | 5.649 | N/A | 491.31 | 83.12 | 76.88
buparup5 | 2024-04-22 19:04 | 3 | 58 | Norbuprenorphine-D | 3.91 | 358301 | N/A | 1 | N/A | 78.56
buparup5 | 2024-04-22 19:04 | 3 | 58 | Norbuprenorphine-Gluc | 2.3 | 6180 | 0.087 | N/A | 3.724 | 66.09 | 58.61
buparup5 | 2024-04-22 19:04 | 3 | 58 | Norbuprenorphine-Gluc-D | 2.29 | 71206 | N/A | 1 | N/A | 58.24
buparup6_INJ001 | 2024-04-22 19:09 | 1 | 59 | Buprenorphine | 4.64 | 2762 | 0.009 | N/A | 0.933 | 91.62 | 7.53
buparup6_INJ001 | 2024-04-22 19:09 | 1 | 59 | Buprenorphine-D | 4.64 | 319571 | N/A | 1 | N/A | 40.89
buparup6_INJ001 | 2024-04-22 19:09 | 1 | 59 | Buprenorphine-Gluc | 3.33 | 89351 | 0.911 | N/A | 39.261 | 94.45 | 3.49
buparup6_INJ001 | 2024-04-22 19:09 | 1 | 59 | Buprenorphine-Gluc-D | 3.31 | 98043 | N/A | 1 | N/A | 43.05
buparup6_INJ001 | 2024-04-22 19:09 | 1 | 59 | Naloxone | 0.82 | 2955885 | 5.436 | N/A | 187.02 | 90.29 | 79.24
buparup6_INJ001 | 2024-04-22 19:09 | 1 | 59 | Naloxone-D | 0.78 | 543759 | N/A | 1 | N/A | 90.74
buparup6_INJ001 | 2024-04-22 19:09 | 1 | 59 | Norbuprenorphine | 3.69 | 14747 | 0.118 | N/A | 9.907 | 89.45 | 82.69
buparup6_INJ001 | 2024-04-22 19:09 | 1 | 59 | Norbuprenorphine-D | 3.69 | 124815 | N/A | 1 | N/A | 96.1
buparup6_INJ001 | 2024-04-22 19:09 | 1 | 59 | Norbuprenorphine-Gluc | 1.96 | 19336 | 0.239 | N/A | 10.666 | 58.45 | 57.46
buparup6_INJ001 | 2024-04-22 19:09 | 1 | 59 | Norbuprenorphine-Gluc-D | 1.95 | 80755 | N/A | 1 | N/A | 56.77
buparup6 | 2024-04-22 19:16 | 3 | 60 | Buprenorphine | 4.89 | 4317 | 0.008 | N/A | 0.889 | 98.74 | 28.89
buparup6 | 2024-04-22 19:16 | 3 | 60 | Buprenorphine-D | 4.87 | 535751 | N/A | 1 | N/A | 40.22
buparup6 | 2024-04-22 19:16 | 3 | 60 | Buprenorphine-Gluc | 3.6 | 136809 | 0.879 | N/A | 37.886 | 102.34 | 4.04
buparup6 | 2024-04-22 19:16 | 3 | 60 | Buprenorphine-Gluc-D | 3.59 | 155598 | N/A | 1 | N/A | 43.62
buparup6 | 2024-04-22 19:16 | 3 | 60 | Naloxone | 0.89 | 3202849 | 5.715 | N/A | 196.65 | 89.11 | 78.54
buparup6 | 2024-04-22 19:16 | 3 | 60 | Naloxone-D | 0.85 | 560389 | N/A | 1 | N/A | 90.22
buparup6 | 2024-04-22 19:16 | 3 | 60 | Norbuprenorphine | 3.92 | 29641 | 0.112 | N/A | 9.359 | 83.65 | 77.41
buparup6 | 2024-04-22 19:16 | 3 | 60 | Norbuprenorphine-D | 3.91 | 265010 | N/A | 1 | N/A | 84.61
buparup6 | 2024-04-22 19:16 | 3 | 60 | Norbuprenorphine-Gluc | 2.25 | 17932 | 0.249 | N/A | 11.087 | 56.82 | 58.5
buparup6 | 2024-04-22 19:16 | 3 | 60 | Norbuprenorphine-Gluc-D | 2.24 | 72097 | N/A | 1 | N/A | 58.02
buparup7_INJ001 | 2024-04-22 19:21 | 1 | 61 | Buprenorphine | 4.65 | 28051 | 0.049 | N/A | 3.945 | 95.12 | 7.49
buparup7_INJ001 | 2024-04-22 19:21 | 1 | 61 | Buprenorphine-D | 4.64 | 570149 | N/A | 1 | N/A | 39.94
buparup7_INJ001 | 2024-04-22 19:21 | 1 | 61 | Buprenorphine-Gluc | 3.31 | 497795 | 2.495 | N/A | 107.062 | 100.42 | 3.97
buparup7_INJ001 | 2024-04-22 19:21 | 1 | 61 | Buprenorphine-Gluc-D | 3.3 | 199522 | N/A | 1 | N/A | 45.95
buparup7_INJ001 | 2024-04-22 19:21 | 1 | 61 | Naloxone | 0.82 | 39511 | 0.05 | N/A | 1.375 | 92.64 | 76.95
buparup7_INJ001 | 2024-04-22 19:21 | 1 | 61 | Naloxone-D | 0.78 | 786405 | N/A | 1 | N/A | 89.4
buparup7_INJ001 | 2024-04-22 19:21 | 1 | 61 | Norbuprenorphine | 3.69 | 123892 | 0.31 | N/A | 26.617 | 82.53 | 76.84
buparup7_INJ001 | 2024-04-22 19:21 | 1 | 61 | Norbuprenorphine-D | 3.69 | 399467 | N/A | 1 | N/A | 82.1
buparup7_INJ001 | 2024-04-22 19:21 | 1 | 61 | Norbuprenorphine-Gluc | 1.98 | 374941 | 3.256 | N/A | 147.83 | 58.16 | 57.41
buparup7_INJ001 | 2024-04-22 19:21 | 1 | 61 | Norbuprenorphine-Gluc-D | 1.98 | 115156 | N/A | 1 | N/A | 56.18
buparup7 | 2024-04-22 19:28 | 3 | 62 | Buprenorphine | 4.89 | 24920 | 0.048 | N/A | 3.856 | 97.83 | 8.17
buparup7 | 2024-04-22 19:28 | 3 | 62 | Buprenorphine-D | 4.87 | 519205 | N/A | 1 | N/A | 40.18
buparup7 | 2024-04-22 19:28 | 3 | 62 | Buprenorphine-Gluc | 3.6 | 467716 | 2.595 | N/A | 111.334 | 100.1 | 3.88
buparup7 | 2024-04-22 19:28 | 3 | 62 | Buprenorphine-Gluc-D | 3.59 | 180256 | N/A | 1 | N/A | 43.75
buparup7 | 2024-04-22 19:28 | 3 | 62 | Naloxone | 0.89 | 35563 | 0.05 | N/A | 1.354 | 87.51 | 83.32
buparup7 | 2024-04-22 19:28 | 3 | 62 | Naloxone-D | 0.85 | 716719 | N/A | 1 | N/A | 89.63
buparup7 | 2024-04-22 19:28 | 3 | 62 | Norbuprenorphine | 3.93 | 115138 | 0.299 | N/A | 25.634 | 81.74 | 75.81
buparup7 | 2024-04-22 19:28 | 3 | 62 | Norbuprenorphine-D | 3.91 | 385268 | N/A | 1 | N/A | 78.77
buparup7 | 2024-04-22 19:28 | 3 | 62 | Norbuprenorphine-Gluc | 2.28 | 321350 | 3.285 | N/A | 149.165 | 58.5 | 56.66
buparup7 | 2024-04-22 19:28 | 3 | 62 | Norbuprenorphine-Gluc-D | 2.28 | 97814 | N/A | 1 | N/A | 55.91
buparup8_INJ001 | 2024-04-22 19:33 | 1 | 63 | Buprenorphine | 4.64 | 200751 | 0.336 | N/A | 25.257 | 94.69 | 7.8
buparup8_INJ001 | 2024-04-22 19:33 | 1 | 63 | Buprenorphine-D | 4.62 | 597250 | N/A | 1 | N/A | 40.08
buparup8_INJ001 | 2024-04-22 19:33 | 1 | 63 | Buprenorphine-Gluc | 3.31 | 14379012 | 88.738 | N/A | 3799.542 | 99.82 | 3.51
buparup8_INJ001 | 2024-04-22 19:33 | 1 | 63 | Buprenorphine-Gluc-D | 3.29 | 162038 | N/A | 1 | N/A | 45.15
buparup8_INJ001 | 2024-04-22 19:33 | 1 | 63 | Naloxone | 0.82 | 1185860 | 2.136 | N/A | 73.265 | 87.08 | 77.23
buparup8_INJ001 | 2024-04-22 19:33 | 1 | 63 | Naloxone-D | 0.78 | 555215 | N/A | 1 | N/A | 89.39
buparup8_INJ001 | 2024-04-22 19:33 | 1 | 63 | Norbuprenorphine | 3.68 | 1775499 | 4.927 | N/A | 428.405 | 82.68 | 75.83
buparup8_INJ001 | 2024-04-22 19:33 | 1 | 63 | Norbuprenorphine-D | 3.68 | 360391 | N/A | 1 | N/A | 82.57
buparup8_INJ001 | 2024-04-22 19:33 | 1 | 63 | Norbuprenorphine-Gluc | 1.98 | 10932994 | 96.126 | N/A | 4370.748 | 58.08 | 56.97
buparup8_INJ001 | 2024-04-22 19:33 | 1 | 63 | Norbuprenorphine-Gluc-D | 1.98 | 113736 | N/A | 1 | N/A | 51.67
buparup8 | 2024-04-22 19:40 | 3 | 64 | Buprenorphine | 4.89 | 184195 | 0.336 | N/A | 25.223 | 94.94 | 7.93
buparup8 | 2024-04-22 19:40 | 3 | 64 | Buprenorphine-D | 4.87 | 548748 | N/A | 1 | N/A | 40.48
buparup8 | 2024-04-22 19:40 | 3 | 64 | Buprenorphine-Gluc | 3.6 | 13567933 | 87.95 | N/A | 3765.774 | 101.15 | 3.63
buparup8 | 2024-04-22 19:40 | 3 | 64 | Buprenorphine-Gluc-D | 3.59 | 154269 | N/A | 1 | N/A | 45.83
buparup8 | 2024-04-22 19:40 | 3 | 64 | Naloxone | 0.91 | 1265484 | 2.176 | N/A | 74.638 | 88.04 | 76.76
buparup8 | 2024-04-22 19:40 | 3 | 64 | Naloxone-D | 0.86 | 581651 | N/A | 1 | N/A | 88.89
buparup8 | 2024-04-22 19:40 | 3 | 64 | Norbuprenorphine | 3.93 | 1723791 | 4.82 | N/A | 419.092 | 81.98 | 75.53
buparup8 | 2024-04-22 19:40 | 3 | 64 | Norbuprenorphine-D | 3.91 | 357663 | N/A | 1 | N/A | 77.95
buparup8 | 2024-04-22 19:40 | 3 | 64 | Norbuprenorphine-Gluc | 2.28 | 11141016 | 93.802 | N/A | 4265.048 | 57.85 | 56.82
buparup8 | 2024-04-22 19:40 | 3 | 64 | Norbuprenorphine-Gluc-D | 2.28 | 118772 | N/A | 1 | N/A | 50.42
buparup9_INJ001 | 2024-04-22 19:45 | 1 | 65 | Buprenorphine | 4.63 | 1323831 | 1.848 | N/A | 137.522 | 94.41 | 6.69
buparup9_INJ001 | 2024-04-22 19:45 | 1 | 65 | Buprenorphine-D | 4.61 | 716534 | N/A | 1 | N/A | 40.17
buparup9_INJ001 | 2024-04-22 19:45 | 1 | 65 | Buprenorphine-Gluc | 3.3 | 6269833 | 54.168 | N/A | 2319.412 | 102.84 | 3.51
buparup9_INJ001 | 2024-04-22 19:45 | 1 | 65 | Buprenorphine-Gluc-D | 3.28 | 115748 | N/A | 1 | N/A | 45
buparup9_INJ001 | 2024-04-22 19:45 | 1 | 65 | Naloxone | 0.82 | 1037524 | 1.694 | N/A | 58.023 | 88.4 | 77.82
buparup9_INJ001 | 2024-04-22 19:45 | 1 | 65 | Naloxone-D | 0.78 | 612597 | N/A | 1 | N/A | 91.57
buparup9_INJ001 | 2024-04-22 19:45 | 1 | 65 | Norbuprenorphine | 3.67 | 5202462 | 12.676 | N/A | 1102.862 | 83.73 | 77.23
buparup9_INJ001 | 2024-04-22 19:45 | 1 | 65 | Norbuprenorphine-D | 3.66 | 410420 | N/A | 1 | N/A | 79.67
buparup9_INJ001 | 2024-04-22 19:45 | 1 | 65 | Norbuprenorphine-Gluc | 1.97 | 10676665 | 78.367 | N/A | 3563.226 | 57.98 | 57.16
buparup9_INJ001 | 2024-04-22 19:45 | 1 | 65 | Norbuprenorphine-Gluc-D | 1.97 | 136239 | N/A | 1 | N/A | 51.18
buparup9 | 2024-04-22 19:52 | 3 | 66 | Buprenorphine | 4.89 | 1281721 | 1.862 | N/A | 138.581 | 94.29 | 6.64
buparup9 | 2024-04-22 19:52 | 3 | 66 | Buprenorphine-D | 4.87 | 688429 | N/A | 1 | N/A | 39.83
buparup9 | 2024-04-22 19:52 | 3 | 66 | Buprenorphine-Gluc | 3.6 | 6175944 | 55.063 | N/A | 2357.728 | 100.37 | 3.5
buparup9 | 2024-04-22 19:52 | 3 | 66 | Buprenorphine-Gluc-D | 3.58 | 112162 | N/A | 1 | N/A | 44.5
buparup9 | 2024-04-22 19:52 | 3 | 66 | Naloxone | 0.91 | 1071284 | 1.757 | N/A | 60.19 | 88.37 | 77.46
buparup9 | 2024-04-22 19:52 | 3 | 66 | Naloxone-D | 0.86 | 609885 | N/A | 1 | N/A | 90.42
buparup9 | 2024-04-22 19:52 | 3 | 66 | Norbuprenorphine | 3.92 | 5067121 | 12.653 | N/A | 1100.861 | 83.26 | 76.71
buparup9 | 2024-04-22 19:52 | 3 | 66 | Norbuprenorphine-D | 3.91 | 400469 | N/A | 1 | N/A | 78.7
buparup9 | 2024-04-22 19:52 | 3 | 66 | Norbuprenorphine-Gluc | 2.28 | 9838321 | 78.847 | N/A | 3585.034 | 58.35 | 57.24
buparup9 | 2024-04-22 19:52 | 3 | 66 | Norbuprenorphine-Gluc-D | 2.28 | 124778 | N/A | 1 | N/A | 50.76
buparup10_INJ001 | 2024-04-22 19:58 | 1 | 67 | Buprenorphine | 4.64 | 57926 | 0.336 | N/A | 25.281 | 94.2 | 7.16
buparup10_INJ001 | 2024-04-22 19:58 | 1 | 67 | Buprenorphine-D | 4.62 | 172170 | N/A | 1 | N/A | 42.37
buparup10_INJ001 | 2024-04-22 19:58 | 1 | 67 | Buprenorphine-Gluc | 3.31 | 6263130 | 49.228 | N/A | 2107.931 | 101.61 | 3.46
buparup10_INJ001 | 2024-04-22 19:58 | 1 | 67 | Buprenorphine-Gluc-D | 3.29 | 127226 | N/A | 1 | N/A | 46.06
buparup10_INJ001 | 2024-04-22 19:58 | 1 | 67 | Naloxone | 0.82 | 2674763 | 5.533 | N/A | 190.377 | 88.65 | 77.55
buparup10_INJ001 | 2024-04-22 19:58 | 1 | 67 | Naloxone-D | 0.78 | 483385 | N/A | 1 | N/A | 89.84
buparup10_INJ001 | 2024-04-22 19:58 | 1 | 67 | Norbuprenorphine | 3.68 | 1037273 | 3.383 | N/A | 294.055 | 83.15 | 76.55
buparup10_INJ001 | 2024-04-22 19:58 | 1 | 67 | Norbuprenorphine-D | 3.66 | 306618 | N/A | 1 | N/A | 82.49
buparup10_INJ001 | 2024-04-22 19:58 | 1 | 67 | Norbuprenorphine-Gluc | 1.98 | 8131488 | 71.323 | N/A | 3242.929 | 58.05 | 56.6
buparup10_INJ001 | 2024-04-22 19:58 | 1 | 67 | Norbuprenorphine-Gluc-D | 1.98 | 114009 | N/A | 1 | N/A | 51.21
buparup10 | 2024-04-22 20:04 | 3 | 68 | Buprenorphine | 4.89 | 65110 | 0.337 | N/A | 25.339 | 96.15 | 7.57
buparup10 | 2024-04-22 20:04 | 3 | 68 | Buprenorphine-D | 4.87 | 193072 | N/A | 1 | N/A | 40.31
buparup10 | 2024-04-22 20:04 | 3 | 68 | Buprenorphine-Gluc | 3.6 | 6573262 | 50.448 | N/A | 2160.143 | 100.28 | 3.57
buparup10 | 2024-04-22 20:04 | 3 | 68 | Buprenorphine-Gluc-D | 3.59 | 130298 | N/A | 1 | N/A | 43.05
buparup10 | 2024-04-22 20:04 | 3 | 68 | Naloxone | 0.91 | 3056101 | 5.856 | N/A | 201.511 | 88.08 | 76.83
buparup10 | 2024-04-22 20:04 | 3 | 68 | Naloxone-D | 0.86 | 521838 | N/A | 1 | N/A | 89.89
buparup10 | 2024-04-22 20:04 | 3 | 68 | Norbuprenorphine | 3.93 | 1102039 | 3.429 | N/A | 298.08 | 82.94 | 75.76
buparup10 | 2024-04-22 20:04 | 3 | 68 | Norbuprenorphine-D | 3.91 | 321370 | N/A | 1 | N/A | 79.51
buparup10 | 2024-04-22 20:04 | 3 | 68 | Norbuprenorphine-Gluc | 2.28 | 7887835 | 72.486 | N/A | 3295.815 | 58.64 | 57.5
buparup10 | 2024-04-22 20:04 | 3 | 68 | Norbuprenorphine-Gluc-D | 2.27 | 108818 | N/A | 1 | N/A | 53.19